# Supplementary Images

Supplementary Fig. 1. The initial screen of the Batch Deconvolution Graphical User Interface.

# Supplementary Data

## Pseudocode

- Read parameters.

- LOOP for all files in the input folder:

- Read a file.

- Split the file into z-stacks of separate positions, frames, and channels.

- Collect data of pixel and image sizes for every file for further PSF calculations (if selected).

- Save split files.

- LOOP for pixel and image sizes data (if a PSF is not provided):

Option I: calculate a PSF for every image.

Prepare a PSF config file (see PSF Generator instruction) for every channel (excluding brightfield) of every file.

Option II: calculate a PSF once for similar images.

Prepare a PSF config file for every channel of every voxel size, taking the PSF image dimensions from maxima of images of a common voxel size.

- IF a PSF is provided, load it, split into channels, and save as separate files.

- LOOP for all the files in the input folder:

- LOOP for all the split files from one position:

- If the image is of a brightfield channel, copy the image into the intermediate deconvolved images folder.

- Calculate a PSF using PSF Generator if was not calculated earlier or not provided.

- Deconvolve the image using DeconvolutionLab2. Save the deconvolved image to the intermediate deconvolved images folder.

- (IF option chosen) Delete the split file.

- Combine all files from the single position (channels, frames), and save it to the output folder.

- (IF option chosen) Delete expendable images from the intermediate deconvolved images folder (single-frame, single-channel images).

- IF a PSF is to be calculated for every file, delete expendable PSFs (IF option to delete files chosen).

- Create the condense Log file

- (IF option chosen)Delete all intermediate files.

## Further troubleshooting

- For parameters optimization we recommend first to work with stand-alone PSF Generator and DeconvolutionLab2 separately and then to input settings into BatchDeconvolution for the batch processing.

- BatchDeconvolution reads a voxel size from an image metadata. Such information must be provided for a proper work of the software.

- Pixel calibration can be set in any units. Their relation to the SI units has to be provided first in units.dat file within the BatchDeconvolution folder. Some most common units are already provided.

- If a PSF file is provided, it either has to match the channel structure of the image file (including brightfield channel(s) – though, these channels will not be taken into account) or has to have the same number of fluorescence channels as the image file. BatchDeconvolution software will account for the different channel structure resulting from missing brightfield channel(s).

- Log.dat file (in Log folder) contains condense information about deconvolution process. Check it after processing for eventual errors.

- The list of file formats supported by BatchDeconvolution is included in extensions.dat file within the BatchDeconvolution folder. We tried to include all the file formats readable by BioFormats library. If the library supports an additional file format that is not included in extensions.dat file, adding the extension to the data file may allow BatchDeconvolution to read the image file.