Supplemental Data Table 3: Stability of samples after three freeze thaw cycles

| Sample | Recovery [%]1 ± standard deviation after three freeze thaw cycles |
| --- | --- |
| QC A (0.5 mg/L) | 102.1 ± 6.2 |
| QC C (16.0 mg/L) | 96.5 ± 1.1 |
| Serum pool (~8.6 mg/L) | 100.5 ± 8.3 |

1 Each value represents the recovery based on means of three measurements