Supplemental Data

Table 1. Samples and targets in the Commutability Study.

| Category |  | Sample Characteristics |  |  | Targets in U/L a |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Biological Matrix | Achievement Concentration Range | Preservation | ALAT | ASAT | LD | CK | GGT | AP | AMY |
| SKML Test Sera | 40 Patients | Native Human Serum Single Donations | Native; selected on range | Frozen <-70°C |  |  |  |  |  |  |  |
|  | Pool serum I | Native Human Serum Pools | Native; ad random pools | Frozen <-70°C |  |  |  |  |  |  |  |
|  | Pool serum II |  |  |  |  |  |  |  |  |  |  |
|  | Multi Enz spike High | Native Human Serum Single Donation | Spiked with Seven Human Recombinant Enzymes | Frozen <-70°C |  |  |  |  |  |  |  |
|  | Multi Enz spike Medium |  |  |  |  |  |  |  |  |  |  |
|  | Multi Enz spike Low |  |  |  |  |  |  |  |  |  |  |
|  | LDII spike High | Native Human Serum Single Donation | Spiked with LD II Human Recombinant Enzyme | Frozen <-70°C |  |  |  |  |  |  |  |
|  | LDII spike Medium |  |  |  |  |  |  |  |  |  |  |
|  | LDII spike Low |  |  |  |  |  |  |  |  |  |  |
| SKML EQA/PT | 2012.1A | Native Human Serum Pools | Spiked with Seven Human Recombinant Enzymes | Frozen <-70°C | 56 | 47 | 901 | 146 | 140 | 119 | 350 |
|  | 2012.1B |  |  |  | 17 | 20 | 1125 | 62 | 172 | 58 | 438 |
|  | 2012.1C |  |  |  | 192 | 145 | 114 | 440 | 28 | 335 | 45 |
|  | 2012.2A |  |  |  | 114 | 89 | 563 | 272 | 92 | 212 | 219 |
|  | 2012.2C |  |  |  | 153 | 117 | 338 | 356 | 60 | 273 | 132 |
|  | Trueness Verifier | Native Human Serum Pools | Spiked with Seven Human Recombinant Enzymes | Lyophilised <-70°C Stabilisers | 183 | 128 | 701 | 394 | 159 | 242 | 297 |
| Asahi | CRM-001c | Bovine Albumin | Spiked Seven Human Re En | Lyophilized <-20°C Stabilisers | 155 | 161 | 397 | 434 | 152 | 140 | 348 |
|  | HC-ALTII |  | Spiked ALT Human Re En |  | 99 |  |  |  |  |  |  |
|  | HC-CKII |  | Spiked CK Human Re En |  |  |  |  | 308 |  |  |  |
|  | HC-LDII |  | Spiked LD Human Re En |  |  |  | 299 |  |  |  |  |
| IRMM | AD 452 GGT | Bovine Albumin | Spiked Pig Kidney | Lyophilised <-20°C Stabilisers |  |  |  |  | 114 |  |  |
|  | AD 454 ALAT | Bovine Albumin | Spiked Pig Heart |  | 186 |  |  |  |  |  |  |
|  | AD 455 CK | Human Albumin | Spiked Human Heart |  |  |  |  | 101 |  |  |  |
|  | AD 456 Amylaseb | Human Albumin | Spiked Human Pancreas |  |  |  |  |  |  |  | 546 |
|  | AD 457 AST | Bovine Albumin | Spiked Recomb E. coli |  |  | 105 |  |  |  |  |  |

a  SKML samples targeted by Enzyme Reference Laboratory The Hague, The Netherlands; Asahi Kasei by Asahi Kasei/JSCC; IRMM by n IFCC traceable laboratories.

b Value assigned before RMP was published; when assayed with the RMP values are expected to differ approximately 5%.