SUPPLEMENTAL MATERIAL: DOI: 10.1515/cclm-2014-0592

Figure 1: Epitope location for BNP immunoassays (from IFCC database July 2011)

-?-: 	epitope locations not precisely known

M: 	monoclonal

O:	oligoclonal

m:	mouse

H2N-SPKMVQGSGC10FGRKMDRISS20SSGLGCKVLRRH-COOH

Abbott	5--- Mm -----1326--- Mm -----32

Alere	5--- Mm -----13Om ?

Beckman       5--- Om ------13Mm ?

Siemens (Bayer)                  14------ Mm -----2127-- Mm --32

Siemens (DB)                       14------ Mm -----2127-- Mm --32

Shionogi                               14------ Mm -----2127-- Mm --32

- M-: Capture Antibody

- M- : Detection Antibody

Figure 2: Epitope location for NT-proBNP immunoassays (from IFCC database July 2011)

-?-: 	epitope locations not precisely known

M: 	monoclonal

P:	polyclonal

m:	mouse

g:	goat

O-glycosylation sites (serine, threonine)

H2N-HPLGSPGSAS10DLETSGLQEQ20RNHLQGKLSE30LQVEQTSLEP40LQESPRPTGV50WKSREVATEG60IRGHRKMVLY70TLRAPR-COOH

Alere				27- Mm --3142--- Mg --46

BioMérieux1-------------------Pg ----------------------2139--------Pg ----------50

Mitsubishi                                  1-------------------Pg ----------------------2139--------Pg ----------50

Nanogen				Mm +Pg -?-					Pg -?-

OCD	1------------------- Pg ----------------------2139-------- Pg ----------50

Response27- Mm --3139--------Pg ----------50

Roche 1                                      1-------------------Pg ----------------------2139--------Pg ----------50

Roche 2                                                                                                                         27- Mm --3142--- Mg --46

Siemens (DB)						22-----Mg ----2842--- Mg --46

Siemens (DPC)                          1-------------------Pg ----------------------2139--------Pg ----------50

- M-: Capture Antibody

- M-: Detection Antibody

Figure 3: Box plot (distribution) of natriuretic peptide individual results from the study samples measured by the tested methods and divided according to NYHA stages.

Part A: Box plot showing Access® (n=19), Architect® (n=19), Centaur® (n=19) and Triage® (n=19) BNP levels. Part B: Box plot showing Elecsys® (n=39), CobasH232® (n=36), Vidas® (n=39), Vista® (n=39), Vitros® (n=39), and Xpand® (n=39) NT-proBNP levels.

.

A

B