Supplementary Figure 1. MaxENUF as a function of ∆m for a 3σ analytical process with different biases. The analytical process is controlled by bracketed QC with different 1ks rules (k = 2, 2.5, 3) with a control sample analyzed by QC event (n = 1) and 100 patient samples analyzed between QC events. The value of MaxENUF is expressed relative to that for rejection limits centered on the instrument mean (∆m = 0). ∆m is expressed as a multiple of sa.

Supplementary Figure 2. MaxENUF as a function of ∆m for a 3σ analytical process with different biases. The analytical process is controlled by bracketed QC with different 1ks rules (k = 2, 2.5, 3) with two control samples analyzed by QC event (n = 2) and 100 patient samples analyzed between QC events. The value of MaxENUF is expressed relative to that for rejection limits centered on the instrument mean (∆m = 0). ∆m is expressed as a multiple of sa.

Supplementary Figure 3. MaxENUF as a function of ∆m for a 4σ analytical process with different biases. The analytical process is controlled by bracketed QC with different 1ks rules (k = 2, 2.5, 3) with two control samples analyzed by QC event (n = 2) and 100 patient samples analyzed between QC events. The value of MaxENUF is expressed relative to that for rejection limits centered on the instrument mean (∆m = 0). ∆m is expressed as a multiple of sa.

Supplementary Figure 4. MaxENUF as a function of ∆m for a 6σ analytical process with different biases. The analytical process is controlled by bracketed QC with different 1ks rules (k = 2, 2.5, 3) with two control samples analyzed by QC event (n = 2) and 100 patient samples analyzed between QC events. The value of MaxENUF is expressed relative to that for rejection limits centered on the instrument mean (∆m = 0). ∆m is expressed as a multiple of sa.