Supplementary Figure 1. (A) ROC plot for the prediction of low vitamin B12 values (<156 pmol/L) in the validation population of the Jeroen Bosch Hospital (Siemens), with an area under the curve of 0.52. (B) ROC plot for the prediction of low folic acid values (<6.0 nmol/L) in the validation population of the Jeroen Bosch Hospital (Siemens), with an area under the curve of 0.57. (C) Precision-recall curve for the validation population of the JBH-S algorithm. (D) Precision-recall curve for the validation population of the Medlon-R algorithm.

Supplementary Table 1. The sensitivity and specificity for each cut-off value of the algorithm, as an arbitrary machine learning value from 0 to 1.

| Siemens ML algorithm |  |  |
| --- | --- | --- |
| Cut-off value (arbitrary unit) | Sensitivity | Specificity |
| ≤0.0 ≤0.1 * ≤0.2 | 100% 94% 88% | 10% 67% 82% |
| ≥0.30 ≥0.40 ≥0.50 * ≥0.60 ≥0.70 ≥0.80 ≥0.90 | 81% 77% 69% 63% 53% 38% 23% | 88% 92% 95% 97% 98% 99% 100% |
| Roche ML algorithm |  |  |
| Cut-off value (arbitrary unit) | Sensitivity | Specificity |
| ≤0.0 ≤0.05 * ≤0.1 | 99% 93% 87% | 30% 64% 76% |
| ≥0.30 ≥0.40 * ≥0.50 ≥0.60 ≥0.70 ≥0.80 ≥0.90 | 70% 59% 49% 39% 28% 18% 7% | 91% 95% 97% 98% 99% 99% 100% |

* The cut-off values as chosen in this study.