## Suppl. Table 2
Supplemental Table 2. List of sample intra-laboratory CV and use in the study analyses of corticosterone measurements
SUBJECT ID | Specimen/EQA | All lab median | Lab B |  |  | Lab C |  |  | Lab D |  |  | Lab E |  |  | Lab G |  |  | Lab H |  |  | Lab I |  |  | Lab L
|  | (nmol/L) | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study
A01 | serum-gel | 13.7577 | 3.8895 | Y | Y | 14.5758 | Y | Y | 2.5536 | Y | Y | 7.845 | Y | Y | 3.7084 | Y | Y | 0.060182 | Y | Y | 1.6973 | Y | Y | 8.7411 | Y | Y
A01 | plasma-hep | 13.4425 | 4.0834 | Y | Y | 2.2577 | Y | Y | 9.1101 | Y | Y | 4.9677 | Y | Y | 0.22254 | Y | Y | 1.6123 | Y | Y | 2.5989 | Y | Y | 9.1762 | Y | Y
A01 | serum-beads | 13.5852 | 5.2636 | Y | Y | 3.5855 | Y | Y | 6.5509 | Y | Y | 0.42732 | Y | Y | 2.7336 | Y | Y | 1.6462 | Y | Y | 4.7492 | Y | Y | 9.3607 | Y | Y
A02 | serum-gel | 10.4816 | 5.8698 | Y | Y | 7.7997 | Y | Y | 9.0727 | Y | Y | 4.6241 | Y | Y | 8.9122 | Y | Y | 2.7687 | Y | Y | 0.95904 | Y | Y | 6.8622 | Y | Y
A02 | plasma-hep | 10.0849 | 6.5529 | Y | Y | 17.3639 | Y | Y | 5.9264 | Y | Y | 2.9165 | Y | Y | 7.2304 | Y | Y | 2.5776 | Y | Y | 1.4595 | Y | Y | 2.184 | Y | Y
A02 | serum-beads | 10.279 | 0.088885 | Y | Y | 2.865 | Y | Y | 1.5582 | Y | Y | 0.10507 | Y | Y | 2.8778 | Y | Y | 3.2887 | Y | Y | 1.8657 | Y | Y | 7.8236 | Y | Y
A03 | serum-gel | 8.1378 | 0.18838 | Y | Y | 1.6313 | Y | Y | 2.2305 | Y | Y | 6.2482 | Y | Y | 0.18201 | Y | Y | 2.4291 | Y | Y | 0 | Y | Y | 8.5995 | Y | Y
A03 | plasma-hep | 7.6033 | 7.4397 | Y | Y | 7.4137 | Y | Y | 1.0664 | Y | Y | 0.11082 | Y | Y | 2.2478 | Y | Y | 0.39128 | Y | Y | 5.8805 | Y | Y | 8.0799 | Y | Y
A03 | serum-beads | 7.6815 | 3.9796 | Y | Y | 2.1052 | Y | Y | 7.3069 | Y | Y | 4.2102 | Y | Y | 1.7293 | Y | Y | 0.23455 | Y | Y | 0.37612 | Y | Y | 4.8112 | Y | Y
A04 | serum-gel | 35.9113 | 3.8615 | Y | Y | 0.71353 | Y | Y | 0.51711 | Y | Y | 3.6089 | Y | Y | 3.5321 | Y | Y | 3.6859 | Y | Y | 1.14 | Y | Y | 5.8346 | Y | Y
A04 | plasma-hep | 35.6319 | 1.5434 | Y | Y | 2.3517 | Y | Y | 3.4641 | Y | Y | 3.6984 | Y | Y | 1.3558 | Y | Y | 6.2734 | Y | Y | 2.5782 | Y | Y | 4.5102 | Y | Y
A04 | serum-beads | 36.2215 | 1.8783 | Y | Y | 1.8444 | Y | Y | 2.7134 | Y | Y | 7.1034 | Y | Y | 0.47127 | Y | Y | 2.1669 | Y | Y | 0.43732 | Y | Y | 0.29433 | Y | Y
A05 | serum-gel | 38.4941 | 0.49668 | Y | Y | 4.8074 | Y | Y | 3.914 | Y | Y | 2.602 | Y | Y | 2.1314 | Y | Y | 0.9147 | Y | Y | 1.9103 | Y | Y | 7.1081 | Y | Y
A05 | plasma-hep | 37.6109 | 2.0622 | Y | Y | 2.7426 | Y | Y | 3.1676 | Y | Y | 1.8965 | Y | Y | 6.2275 | Y | Y | 5.2741 | Y | Y | 1.6068 | Y | Y | 1.978 | Y | Y
A05 | serum-beads | 38.1675 | 0.69967 | Y | Y | 5.796 | Y | Y | 0.49842 | Y | Y | 6.3763 | Y | Y | 5.0666 | Y | Y | 4.9348 | Y | Y | 0.60064 | Y | Y | 8.462 | Y | Y
A06 | serum-gel | 4.2298 | 3.3886 | Y | Y | 2.8712 | Y | Y | 3.6423 | Y | Y | 6.349 | Y | Y | 2.0951 | Y | Y | 1.1703 | Y | Y | 1.6814 | Y | Y | 10.1927 | Y | Y
A06 | plasma-hep | 4.2452 | 0.50915 | Y | Y | 0.29874 | Y | Y | 1.3662 | Y | Y | 3.3256 | Y | Y | 4.5847 | Y | Y | 2.3624 | Y | Y | 1.6638 | Y | Y | 0.93128 | Y | Y
A06 | serum-beads | 4.1868 | 2.1894 | Y | Y | 13.8845 | Y | Y | 3.0687 | Y | Y | 14.0789 | Y | Y | 5.0628 | Y | Y | 7.2441 | Y | Y | 6.4362 | Y | Y | 4.8412 | Y | Y
A07 | serum-gel | 38.5171 | 0.45654 | Y | Y | 2.5713 | Y | Y | 2.0974 | Y | Y | 3.5117 | Y | Y | 4.69 | Y | Y | 0.55623 | Y | Y | 1.3677 | Y | Y | 3.9658 | Y | Y
A07 | plasma-hep | 35.398 | 2.2457 | Y | Y | 2.3841 | Y | Y | 1.5547 | Y | Y | 4.0066 | Y | Y | 2.2994 | Y | Y | 4.0386 | Y | Y | 2.0335 | Y | Y | 4.4304 | Y | Y
A07 | serum-beads | 36.9237 | 0.88099 | Y | Y | 0.91026 | Y | Y | 3.7827 | Y | Y | 6.1352 | Y | Y | 1.3646 | Y | Y | 4.1098 | Y | Y | 7.1277 | Y | Y | 9.1148 | Y | Y
A08 | serum-gel | 18.6244 | 5.6819 | Y | Y | 4.2046 | Y | Y | 1.9512 | Y | Y | 0.52518 | Y | Y | 2.9551 | Y | Y | 0.25292 | Y | Y | 3.8585 | Y | Y | 6.1597 | Y | Y
A08 | plasma-hep | 17.4455 | 2.569 | Y | Y | 3.0788 | Y | Y | 2.118 | Y | Y | 6.9885 | Y | Y | 10.9543 | Y | Y | 3.6942 | Y | Y | n.a. | N* | N* | 4.8595 | Y | Y
A08 | serum-beads | 17.9931 | 3.7505 | Y | Y | 4.1119 | Y | Y | 2.0921 | Y | Y | 4.3135 | Y | Y | 1.2416 | Y | Y | 7.5064 | Y | Y | 0.66356 | Y | Y | 5.6822 | Y | Y
A09 | serum-gel | 10.3732 | 0.80912 | Y | Y | 5.8361 | Y | Y | 4.5111 | Y | Y | 0.75426 | Y | Y | 3.0692 | Y | Y | 3.5397 | Y | Y | 3.4392 | Y | Y | 0.75887 | Y | Y
A09 | plasma-hep | 10.2304 | 6.586 | Y | Y | 1.9985 | Y | Y | 5.9637 | Y | Y | 5.0428 | Y | Y | 7.0466 | Y | Y | 6.6252 | Y | Y | n.a. | N* | N* | 0.29877 | Y | Y
A09 | serum-beads | 10.1505 | 0.14566 | Y | Y | 7.1386 | Y | Y | 4.3907 | Y | Y | 5.7536 | Y | Y | 2.5339 | Y | Y | 5.115 | Y | Y | 3.7198 | Y | Y | 7.7899 | Y | Y
A10 | serum-gel | 61.9708 | 10.2244 | Y | Y | 0.82967 | Y | Y | 0.49549 | Y | Y | 4.8398 | Y | Y | 1.6253 | Y | Y | 4.7034 | Y | Y | 0.44848 | Y | Y | 2.478 | Y | Y
A10 | plasma-hep | 59.4827 | 7.6512 | Y | Y | 1.8308 | Y | Y | 2.5883 | Y | Y | 7.7143 | Y | Y | 1.1904 | Y | Y | 3.855 | Y | Y | 3.5384 | Y | Y | 1.4693 | Y | Y
A10 | serum-beads | 60.6167 | 0.95286 | Y | Y | 3.9517 | Y | Y | 6.0778 | Y | Y | 0.21138 | Y | Y | 0.34953 | Y | Y | 4.0989 | Y | Y | 3.6698 | Y | Y | 6.4725 | Y | Y
A11 | serum-gel | 95.3993 | 1.1604 | Y | Y | 3.0231 | Y | Y | 1.6133 | Y | Y | 7.152 | Y | Y | 0.64519 | Y | Y | 0.1302 | Y | Y | 0.33914 | Y | Y | 16.4942 | Y | Y
A11 | plasma-hep | 89.4989 | 0.66318 | Y | Y | 1.8609 | Y | Y | 3.2262 | Y | Y | 4.0453 | Y | Y | 6.7097 | Y | Y | 2.3008 | Y | Y | 7.0531 | Y | Y | 2.2485 | Y | Y
A11 | serum-beads | 91.7305 | 2.0446 | Y | Y | 1.3792 | Y | Y | 3.0553 | Y | Y | 5.0815 | Y | Y | 9.3335 | Y | Y | 2.2255 | Y | Y | 7.3316 | Y | Y | 3.0801 | Y | Y
A12 | serum-gel | 15.6416 | 2.6682 | Y | Y | 0.65316 | Y | Y | 0.74699 | Y | Y | 2.952 | Y | Y | 10.3134 | Y | Y | 5.4495 | Y | Y | 2.348 | Y | Y | 16.1023 | Y | Y
A12 | plasma-hep | 15.5481 | 2.1512 | Y | Y | 2.5676 | Y | Y | 3.2761 | Y | Y | 1.1455 | Y | Y | 2.1546 | Y | Y | 0.2118 | Y | Y | 1.921 | Y | Y | 16.5104 | Y | Y
A12 | serum-beads | 15.9748 | 1.9587 | Y | Y | 0.58588 | Y | Y | 4.9028 | Y | Y | 5.447 | Y | Y | 2.9463 | Y | Y | 6.1655 | Y | Y | 1.7403 | Y | Y | 11.9284 | Y | Y
A13 | serum-gel | 5.4583 | 0.69406 | Y | Y | 2.6826 | Y | Y | 3.192 | Y | Y | 1.1763 | Y | Y | 3.504 | Y | Y | 1.0857 | Y | Y | 4.2311 | Y | Y | 0.65174 | Y | Y
A13 | plasma-hep | 4.8859 | 0.25476 | Y | Y | 7.4854 | Y | Y | 0.22259 | Y | Y | 11.3744 | Y | Y | 4.3559 | Y | Y | 0.13421 | Y | Y | 19.3336 | Y | Y | 9.4269 | Y | Y
A13 | serum-beads | 4.6465 | 4.192 | Y | Y | 2.0406 | Y | Y | 2.5966 | Y | Y | 3.3621 | Y | Y | 0.76943 | Y | Y | 3.8716 | Y | Y | 1.0199 | Y | Y | 9.6061 | Y | Y
A14 | serum-gel | 8.8284 | 0.22642 | Y | Y | 2.717 | Y | Y | 1.3766 | Y | Y | 1.7676 | Y | Y | 2.8666 | Y | Y | 2.9131 | Y | Y | 0.59456 | Y | Y | 2.2258 | Y | Y
A14 | plasma-hep | 8.5851 | 2.4792 | Y | Y | 2.3445 | Y | Y | 5.8036 | Y | Y | 9.2769 | Y | Y | 3.6807 | Y | Y | 1.7822 | Y | Y | 0 | Y | Y | 12.2677 | Y | Y
A14 | serum-beads | 8.576 | 0.076545 | Y | Y | 2.4422 | Y | Y | 3.1437 | Y | Y | 4.1032 | Y | Y | 3.5567 | Y | Y | 1.2389 | Y | Y | 0.088003 | Y | Y | 8.154 | Y | Y
A15 | serum-gel | 17.3161 | 2.4081 | Y | Y | 0.2262 | Y | Y | 4.0587 | Y | Y | 1.6708 | Y | Y | 7.1909 | Y | Y | 0.35548 | Y | Y | 0.087676 | Y | Y | 5.7025 | Y | Y
A15 | plasma-hep | 16.9229 | 1.0432 | Y | Y | 1.4994 | Y | Y | 6.6991 | Y | Y | 3.567 | Y | Y | 1.3586 | Y | Y | 9.6066 | Y | Y | 0.43838 | Y | Y | 13.6105 | Y | Y
A15 | serum-beads | 16.123 | 0.83019 | Y | Y | 2.1375 | Y | Y | 2.1351 | Y | Y | 4.4454 | Y | Y | 0.51189 | Y | Y | 5.5432 | Y | Y | 1.1359 | Y | Y | 9.3166 | Y | Y
A16 | serum-gel | 8.2216 | 0.252 | Y | Y | 3.5578 | Y | Y | 0.7955 | Y | Y | 1.7616 | Y | Y | 4.0926 | Y | Y | 0.80672 | Y | Y | 0.37712 | Y | Y | 1.9765 | Y | Y
A16 | plasma-hep | 7.8206 | 1.8547 | Y | Y | 3.3974 | Y | Y | 7.3736 | Y | Y | 2.2807 | Y | Y | 4.0978 | Y | Y | 1.3773 | Y | Y | 4.0406 | Y | Y | 6.8188 | Y | Y
A16 | serum-beads | 8.002 | 0.58495 | Y | Y | 3.8138 | Y | Y | 0.76595 | Y | Y | 1.4884 | Y | Y | 1.5105 | Y | Y | 5.8189 | Y | Y | 0.47939 | Y | Y | 6.9044 | Y | Y
A17 | serum-gel | 11.0864 | 2.1568 | Y | Y | 0.92533 | Y | Y | 0.8883 | Y | Y | 7.7702 | Y | Y | 5.5066 | Y | Y | 3.758 | Y | Y | 2.234 | Y | Y | 2.4517 | Y | Y
A17 | plasma-hep | 10.746 | 2.3756 | Y | Y | 9.633 | Y | Y | 1.5945 | Y | Y | 2.5921 | Y | Y | 4.2357 | Y | Y | 0.077564 | Y | Y | 1.5937 | Y | Y | 9.4145 | Y | Y
A17 | serum-beads | 10.7751 | 1.2286 | Y | Y | 1.5493 | Y | Y | 0.76776 | Y | Y | 5.9372 | Y | Y | 0.12787 | Y | Y | 1.4527 | Y | Y | 3.9573 | Y | Y | 3.0244 | Y | Y
A18 | serum-gel | 6.7799 | 1.5452 | Y | Y | 10.7022 | Y | Y | 1.6016 | Y | Y | 2.9536 | Y | Y | 1.0845 | Y | Y | 1.0061 | Y | Y | 0.21076 | Y | Y | 4.6025 | Y | Y
A18 | plasma-hep | 6.765 | 8.3588 | Y | Y | 6.6477 | Y | Y | 3.0697 | Y | Y | 3.5311 | Y | Y | 6.585 | Y | Y | 2.0207 | Y | Y | n.a. | N* | N* | 14.8942 | Y | Y
A18 | serum-beads | 6.8099 | 3.3798 | Y | Y | 6.9056 | Y | Y | 2.3892 | Y | Y | 1.7197 | Y | Y | 0.65676 | Y | Y | 4.8918 | Y | Y | 2.4512 | Y | Y | 0.45184 | Y | Y
A19 | serum-gel | 4.6395 | 0.67226 | Y | Y | 2.7986 | Y | Y | 4.0784 | Y | Y | 0.026041 | Y | Y | 4.128 | Y | Y | 1.6758 | Y | Y | 5.0821 | Y | Y | 13.0739 | Y | Y
A19 | plasma-hep | 4.3756 | 3.4535 | Y | Y | 3.1631 | Y | Y | 0.040487 | Y | Y | 1.8724 | Y | Y | 6.6171 | Y | Y | 4.8644 | Y | Y | 3.5005 | Y | Y | 0.55236 | Y | Y
A19 | serum-beads | 4.5767 | 3.7939 | Y | Y | 3.0851 | Y | Y | 3.6058 | Y | Y | 0.79228 | Y | Y | 9.2883 | Y | Y | 1.1662 | Y | Y | 1.8038 | Y | Y | 5.8921 | Y | Y
A20 | serum-gel | 3.9448 | 0.34704 | Y | Y | 1.4897 | Y | Y | 0.85866 | Y | Y | 3.5802 | Y | Y | 8.6738 | Y | Y | 5.4242 | Y | Y | 3.2621 | Y | Y | 6.3607 | Y | Y
A20 | plasma-hep | 3.8344 | 2.0166 | Y | Y | 17.6354 | Y | Y | 7.7156 | Y | Y | 6.7525 | Y | Y | 0.94407 | Y | Y | 2.1206 | Y | Y | 28.3813 | Y | Y | 7.3344 | Y | Y
A20 | serum-beads | 3.9829 | 0.33439 | Y | Y | 4.484 | Y | Y | 0.72876 | Y | Y | 3.5352 | Y | Y | 7.7664 | Y | Y | 1.498 | Y | Y | 1.1884 | Y | Y | 4.2528 | Y | Y
A21 | serum-gel | 11.2387 | 2.1021 | Y | Y | 2.7882 | Y | Y | 2.0836 | Y | Y | 1.2397 | Y | Y | 6.5426 | Y | Y | 0.84174 | Y | Y | 0.87839 | Y | Y | 12.3891 | Y | Y
A21 | plasma-hep | 10.4609 | 2.7454 | Y | Y | 1.9283 | Y | Y | 5.3709 | Y | Y | 0.34732 | Y | Y | 4.6637 | Y | Y | 3.0922 | Y | Y | 3.3284 | Y | Y | 2.4896 | Y | Y
A21 | serum-beads | 11.0121 | 2.8505 | Y | Y | 3.893 | Y | Y | 0.48179 | Y | Y | 1.2504 | Y | Y | 1.7805 | Y | Y | 0.80535 | Y | Y | 1.1598 | Y | Y | 2.3978 | Y | Y
A22 | serum-gel | 14.0407 | 2.7364 | Y | Y | 5.4241 | Y | Y | 3.5493 | Y | Y | 8.2354 | Y | Y | 0.39284 | Y | Y | 1.641 | Y | Y | 0.90621 | Y | Y | 7.9831 | Y | Y
A22 | plasma-hep | 13.9466 | 0.66457 | Y | Y | 1.5755 | Y | Y | 0.46163 | Y | Y | 2.718 | Y | Y | 0.76496 | Y | Y | 1.7953 | Y | Y | 2.7584 | Y | Y | 8.1183 | Y | Y
A22 | serum-beads | 14.385 | 1.3309 | Y | Y | 7.2614 | Y | Y | 2.8536 | Y | Y | 1.9616 | Y | Y | 3.2358 | Y | Y | 1.3478 | Y | Y | 3.2068 | Y | Y | 7.4277 | Y | Y
A23 | serum-gel | 49.3797 | 0.24258 | Y | Y | 9.4151 | Y | Y | 3.9908 | Y | Y | 4.5571 | Y | Y | 1.2777 | Y | Y | 0.1708 | Y | Y | 0.074268 | Y | Y | 4.7361 | Y | Y
A23 | plasma-hep | 49.8848 | 3.8338 | Y | Y | 1.121 | Y | Y | 2.0261 | Y | Y | 4.9059 | Y | Y | 4.0013 | Y | Y | 5.5368 | Y | Y | 3.0051 | Y | Y | 5.8682 | Y | Y
A23 | serum-beads | 51.2084 | 1.1679 | Y | Y | 13.7994 | Y | Y | 0.61814 | Y | Y | 2.4445 | Y | Y | 2.0763 | Y | Y | 3.3071 | Y | Y | 0.79442 | Y | Y | 0.53016 | Y | Y
A24 | serum-gel | 11.1773 | 1.0087 | Y | Y | 4.5542 | Y | Y | 2.1302 | Y | Y | 1.0791 | Y | Y | 1.3865 | Y | Y | 5.2303 | Y | Y | 2.5469 | Y | Y | 1.0114 | Y | Y
A24 | plasma-hep | 11.0883 | 3.0806 | Y | Y | 7.508 | Y | Y | 2.7954 | Y | Y | 0.7065 | Y | Y | 0.75157 | Y | Y | 3.8887 | Y | Y | 4.3821 | Y | Y | 0.11329 | Y | Y
A24 | serum-beads | 11.4292 | 1.1889 | Y | Y | 7.8812 | Y | Y | 2.2366 | Y | Y | 1.3002 | Y | Y | 0 | Y | Y | 1.7119 | Y | Y | 3.0392 | Y | Y | 2.066 | Y | Y
A25 | serum-gel | 14.0067 | 0.30974 | Y | Y | 5.5906 | Y | Y | 1.4248 | Y | Y | 1.8316 | Y | Y | 2.3201 | Y | Y | 1.3377 | Y | Y | 1.5824 | Y | Y | 0.51278 | Y | Y
A25 | plasma-hep | 13.8736 | 6.9118 | Y | Y | 8.6273 | Y | Y | 0.52806 | Y | Y | 0.97035 | Y | Y | 2.3768 | Y | Y | 4.5114 | Y | Y | 2.6837 | Y | Y | 6.8358 | Y | Y
A25 | serum-beads | 13.7916 | 2.3609 | Y | Y | 5.8318 | Y | Y | 4.5749 | Y | Y | 0.35845 | Y | Y | 0.25299 | Y | Y | 4.1277 | Y | Y | 0.98977 | Y | Y | 10.7694 | Y | Y
A26 | serum-gel | 7.562 | 4.8402 | Y | Y | 9.0027 | Y | Y | 0.063886 | Y | Y | 1.7216 | Y | Y | 1.1498 | Y | Y | 2.4692 | Y | Y | 2.7071 | Y | Y | 12.2552 | Y | Y
A26 | plasma-hep | 7.8242 | 2.8041 | Y | Y | 2.0036 | Y | Y | 1.3812 | Y | Y | 4.2519 | Y | Y | 6.2249 | Y | Y | 4.2508 | Y | Y | 1.1778 | Y | Y | 16.4045 | Y | Y
A26 | serum-beads | 8.3267 | 0.95557 | Y | Y | 2.1497 | Y | Y | 10.9989 | Y | Y | 0.97764 | Y | Y | 0.082174 | Y | Y | 2.5458 | Y | Y | 0.70271 | Y | Y | 1.6744 | Y | Y
Duplicate measurement CV data are from in house calibration.
serum-gel: serum from blood collected by gel separator vacuum tube; plasma-hep: plasma from blood collected by Li-heparin vacuum tube; serum-beads: serum from blood collected by beads clot activator vacuum tube; Y: yes; N: no.
* data lost due to procedural reasons

## Suppl. Table 3
Supplemental Table 3. List of sample intra-laboratory CV and use in the study analyses of 11-deoxycortisol measurements
SUBJECT ID | Specimen/EQA | All lab median | Lab B |  |  | Lab C |  |  | Lab D |  |  | Lab E |  |  | Lab G |  |  | Lab H |  |  | Lab I |  |  | Lab L
|  | (nmol/L) | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study
A01 | serum-gel | 0.545 | 6.8796 | Y | Y | 0.83681 | Y | Y | 10.3681 | Y | Y | 0.36733 | Y | Y | n.a. | N# | N# | 1.3197 | Y | Y | 1.2974 | Y | Y | 4.0732 | Y | Y
A01 | plasma-hep | 0.54586 | 3.2677 | Y | Y | 16.7033 | Y | Y | 3.5063 | Y | Y | 18.9969 | Y | Y | n.a. | N# | N# | 4.0689 | Y | Y | 2.5254 | Y | Y | 1.9454 | Y | Y
A01 | serum-beads | 0.55058 | 1.456 | Y | Y | 4.1931 | Y | Y | 14.369 | Y | Y | 29.622 | Y | Y | n.a. | N# | N# | 5.3596 | Y | Y | 4.9622 | Y | Y | 8.501 | Y | Y
A02£ | serum-gel | 0.31207 | 2.3048 | Y | Y | n.a. | N# | N# | 7.0011 | Y | Y | 6.9227 | Y | Y | n.a. | N# | N# | 4.6072 | Y | Y | 10.8786 | Y | Y | 10.1405 | Y | Y
A02£ | plasma-hep | 0.30803 | 4.4373 | Y | Y | n.a. | N# | N# | 0 | Y | Y | 0 | Y | Y | n.a. | N# | N# | 3.5112 | Y | Y | 8.6585 | Y | Y | 9.8756 | Y | Y
A02£ | serum-beads | 0.30722 | 0.41005 | Y | Y | n.a. | N# | N# | 16.9706 | Y | Y | 35.1301 | Y | N | n.a. | N# | N# | 3.0111 | Y | Y | 10.1015 | Y | Y | 28.7058 | Y | Y
A03 | serum-gel | 0.625 | 3.6133 | Y | Y | 8.8184 | Y | Y | 3.1583 | Y | Y | 8.6443 | Y | Y | n.a. | N# | N# | 2.0328 | Y | Y | 1.1314 | Y | Y | 4.219 | Y | Y
A03 | plasma-hep | 0.61335 | 2.9892 | Y | Y | 13.3546 | Y | Y | 8.3189 | Y | Y | 1.1077 | Y | Y | n.a. | N# | N# | 2.8805 | Y | Y | 6.7344 | Y | Y | 11.5756 | Y | Y
A03 | serum-beads | 0.62056 | 0.18331 | Y | Y | 8.5511 | Y | Y | 3.5533 | Y | Y | 26.6337 | Y | Y | n.a. | N# | N# | 5.8683 | Y | Y | 2.2097 | Y | Y | 3.3252 | Y | Y
A04 | serum-gel | 1.7196 | 3.249 | Y | Y | 2.3477 | Y | Y | 5.2378 | Y | Y | 2.2627 | Y | Y | 1.2369 | Y | Y | 2.2491 | Y | Y | 0.39393 | Y | Y | 3.4493 | Y | Y
A04 | plasma-hep | 1.6565 | 2.3166 | Y | Y | 3.4674 | Y | Y | 4.6569 | Y | Y | 1.6476 | Y | Y | 6.8651 | Y | Y | 4.1536 | Y | Y | 3.178 | Y | Y | 1.7339 | Y | Y
A04 | serum-beads | 1.6095 | 1.2947 | Y | Y | 3.9651 | Y | Y | 4.7183 | Y | Y | 3.1366 | Y | Y | 6.1488 | Y | Y | 3.9503 | Y | Y | 1.2157 | Y | Y | 2.7484 | Y | Y
A05 | serum-gel | 2.2976 | 1.5995 | Y | Y | 3.8781 | Y | Y | 16.4389 | Y | Y | 4.9735 | Y | Y | 6.4144 | Y | Y | 1.4912 | Y | Y | 2.0496 | Y | Y | 0.95618 | Y | Y
A05 | plasma-hep | 2.1991 | 0.77181 | Y | Y | 4.1497 | Y | Y | 4.8425 | Y | Y | 3.0223 | Y | Y | 2.3076 | Y | Y | 3.9173 | Y | Y | 0.57025 | Y | Y | 7.6036 | Y | Y
A05 | serum-beads | 2.2989 | 3.8857 | Y | Y | 1.3151 | Y | Y | 7.8996 | Y | Y | 0.19267 | Y | Y | 7.476 | Y | Y | 2.8462 | Y | Y | 1.7317 | Y | Y | 11.0583 | Y | Y
A06 | serum-gel | 0.39 | 7.718 | Y | Y | 3.2889 | Y | Y | 16.0832 | Y | Y | 2.6286 | Y | Y | n.a. | N# | N# | 3.8888 | Y | Y | 3.6262 | Y | Y | 0.036144 | Y | Y
A06 | plasma-hep | 0.43111 | 2.9621 | Y | Y | 1.0399 | Y | Y | 12.2777 | Y | Y | 16.6041 | Y | Y | n.a. | N# | N# | 3.0481 | Y | Y | 3.5355 | Y | Y | 5.0306 | Y | Y
A06 | serum-beads | 0.405 | 5.703 | Y | Y | 1.8366 | Y | Y | 11.7426 | Y | Y | 18.0414 | Y | Y | n.a. | N# | N# | 5.6793 | Y | Y | 8.7297 | Y | Y | 5.4 | Y | Y
A07 | serum-gel | 0.945 | 0.17288 | Y | Y | 4.0165 | Y | Y | 4.8068 | Y | Y | 5.5339 | Y | Y | n.a. | N# | N# | 3.075 | Y | Y | 0.74826 | Y | Y | 2.9936 | Y | Y
A07 | plasma-hep | 0.83704 | 2.4897 | Y | Y | 8.0239 | Y | Y | 2.926 | Y | Y | 14.4669 | Y | Y | n.a. | N# | N# | 3.5422 | Y | Y | 0.81746 | Y | Y | 1.8172 | Y | Y
A07 | serum-beads | 0.81828 | 0.28585 | Y | Y | 2.7436 | Y | Y | 6.2622 | Y | Y | 0 | Y | Y | n.a. | N# | N# | 2.0985 | Y | Y | 1.5372 | Y | Y | 11.2718 | Y | Y
A08 | serum-gel | 0.83704 | 1.2931 | Y | Y | 7.8026 | Y | Y | 4.8143 | Y | Y | 2.443 | Y | Y | n.a. | N# | N# | 0.7464 | Y | Y | 0.81746 | Y | Y | 6.2885 | Y | Y
A08 | plasma-hep | 0.819 | 4.5087 | Y | Y | 4.5295 | Y | Y | 10.6128 | Y | Y | 1.373 | Y | Y | n.a. | N# | N# | 1.3317 | Y | Y | n.a. | N* | N* | 7.0909 | Y | Y
A08 | serum-beads | 0.83817 | 5.8323 | Y | Y | 5.6569 | Y | Y | 7.1106 | Y | Y | 11.7571 | Y | Y | n.a. | N# | N# | 2.6827 | Y | Y | 0.79899 | Y | Y | 4.4564 | Y | Y
A09£ | serum-gel | 0.30342 | 4.1675 | Y | Y | n.a. | N# | N# | 3.9503 | Y | Y | 11.1423 | Y | Y | n.a. | N# | N# | 11.95 | Y | Y | 4.8766 | Y | Y | 1.1187 | Y | Y
A09 | plasma-hep | 0.29441 | 0.045839 | Y | Y | n.a. | N# | N# | 4.1595 | Y | Y | 0.76444 | Y | Y | n.a. | N# | N# | 0.18364 | Y | Y | n.a. | N* | N* | 6.9784 | Y | Y
A09 | serum-beads | 0.29874 | 6.8665 | Y | Y | n.a. | N# | N# | 11.6143 | Y | Y | 18.4463 | Y | Y | n.a. | N# | N# | 2.0425 | Y | Y | 2.397 | Y | Y | n.a. | N# | N#
A10 | serum-gel | 1.1785 | 6.7062 | Y | Y | 5.3704 | Y | Y | 12.6707 | Y | Y | n.a. | N* | N* | n.a. | N# | N# | 4.8699 | Y | Y | 0.53367 | Y | Y | 24.1479 | Y | Y
A10 | plasma-hep | 1.215 | 10.7177 | Y | Y | 6.8588 | Y | Y | 9.5726 | Y | Y | n.a. | N* | N* | n.a. | N# | N# | 7.2801 | Y | Y | 5.2378 | Y | Y | 2.2278 | Y | Y
A10 | serum-beads | 1.2223 | 1.4458 | Y | Y | 3.7597 | Y | Y | 2.6157 | Y | Y | n.a. | N* | N* | 1.3469 | N# | N# | 4.3751 | Y | Y | 1.0796 | Y | Y | 18.5118 | Y | Y
A11 | serum-gel | 2.0471 | 0.94698 | Y | Y | 12.3949 | Y | Y | 8.5439 | Y | Y | 12.0306 | Y | Y | 4.4301 | Y | Y | 5.467 | Y | Y | 3.2342 | Y | Y | 14.1386 | Y | Y
A11 | plasma-hep | 2.0111 | 1.2928 | Y | Y | 6.5219 | Y | Y | 5.7555 | Y | Y | 3.9461 | Y | Y | 16.4992 | Y | Y | 1.2843 | Y | Y | 11.0576 | Y | Y | 8.8001 | Y | Y
A11 | serum-beads | 1.9474 | 2.9533 | Y | Y | 9.3721 | Y | Y | 10.7938 | Y | Y | 6.3284 | Y | Y | 7.3694 | Y | Y | 2.9685 | Y | Y | 11.1355 | Y | Y | 1.3706 | Y | Y
A12 | serum-gel | 0.74705 | 3.3418 | Y | Y | 7.0711 | Y | Y | 6.8319 | Y | Y | 4.6044 | Y | Y | n.a. | N# | N# | 1.1505 | Y | Y | 1.7678 | Y | Y | 10.5025 | Y | Y
A12 | plasma-hep | 0.76609 | 1.9733 | Y | Y | 10.4942 | Y | Y | 10.4553 | Y | Y | 2.6558 | Y | Y | n.a. | N# | N# | 3.0297 | Y | Y | 1.8131 | Y | Y | 10.6603 | Y | Y
A12 | serum-beads | 0.76588 | 2.1201 | Y | Y | 1.5484 | Y | Y | 5.7723 | Y | Y | 3.4493 | Y | Y | n.a. | N# | N# | 1.3698 | Y | Y | 10.6066 | Y | Y | 11.6564 | Y | Y
A13£ | serum-gel | 0.23812 | 8.2357 | Y | Y | n.a. | N# | N# | 26.5701 | Y | Y | n.a. | N# | N# | n.a. | N# | N# | 1.7953 | Y | Y | 3.009 | Y | Y | 27.3653 | Y | Y
A13£ | plasma-hep | 0.22895 | 0.045462 | Y | Y | n.a. | N# | N# | 14.4635 | Y | Y | n.a. | N# | N# | n.a. | N# | N# | 0.87372 | Y | Y | n.a. | N# | N# | n.a. | N# | N#
A13£ | serum-beads | 0.22222 | 0.1299 | Y | Y | n.a. | N# | N# | 2.2448 | Y | Y | 25.0909 | Y | Y | n.a. | N# | N# | 1.0993 | Y | Y | n.a. | N# | N# | n.a. | N# | N#
A14 | serum-gel | 0.81395 | 2.4171 | Y | Y | 1.5045 | Y | Y | 13.5529 | Y | Y | 0.79899 | Y | Y | n.a. | N# | N# | 5.3552 | Y | Y | 0.82703 | Y | Y | 0.69557 | Y | Y
A14 | plasma-hep | 0.795 | 2.7697 | Y | Y | 2.6583 | Y | Y | 5.5984 | Y | Y | 11.0088 | Y | Y | n.a. | N# | N# | 2.7366 | Y | Y | 0.88944 | Y | Y | 5.1017 | Y | Y
A14 | serum-beads | 0.82116 | 0.84406 | Y | Y | 2.2607 | Y | Y | 9.1961 | Y | Y | 5.5028 | Y | Y | n.a. | N# | N# | 2.6668 | Y | Y | 1.6444 | Y | Y | 4.1622 | Y | Y
A15 | serum-gel | 0.6 | 3.1053 | Y | Y | 6.7344 | Y | Y | 15.89 | Y | Y | 13.1759 | Y | Y | n.a. | N# | N# | 2.0086 | Y | Y | 4.714 | Y | Y | 18.3517 | Y | Y
A15 | plasma-hep | 0.60469 | 1.9759 | Y | Y | 0.33752 | Y | Y | 8.8593 | Y | Y | 0 | Y | Y | n.a. | N# | N# | 1.8339 | Y | Y | 1.1884 | Y | Y | 14.4495 | Y | Y
A15 | serum-beads | 0.57 | 0.58319 | Y | Y | 3.5179 | Y | Y | 7.7279 | Y | Y | 1.7678 | Y | Y | n.a. | N# | N# | 0.071309 | Y | Y | 0 | Y | Y | 3.2746 | Y | Y
A16 | serum-gel | 0.535 | 4.5851 | Y | Y | 7.1425 | Y | Y | 13.0043 | Y | Y | 9.7372 | Y | Y | n.a. | N# | N# | 1.6883 | Y | Y | 1.3217 | Y | Y | 21.0965 | Y | Y
A16 | plasma-hep | 0.53558 | 5.4627 | Y | Y | 7.0919 | Y | Y | 13.7795 | Y | Y | 3.3081 | Y | Y | n.a. | N# | N# | 2.081 | Y | Y | 6.3703 | Y | Y | 15.2699 | Y | Y
A16 | serum-beads | 0.5375 | 5.5175 | Y | Y | 6.4088 | Y | Y | 6.6675 | Y | Y | 3.4493 | Y | Y | n.a. | N# | N# | 2.0161 | Y | Y | 1.3469 | Y | Y | 2.6588 | Y | Y
A17 | serum-gel | 0.61479 | 0.32408 | Y | Y | 8.6314 | Y | Y | 7.1505 | Y | Y | 8.8126 | Y | Y | n.a. | N# | N# | 4.2914 | Y | Y | 3.4493 | Y | Y | 11.3252 | Y | Y
A17 | plasma-hep | 0.61 | 2.1236 | Y | Y | 7.2122 | Y | Y | 9.3818 | Y | Y | 13.1803 | Y | Y | n.a. | N# | N# | 3.9188 | Y | Y | 2.3184 | Y | Y | 16.8954 | Y | Y
A17 | serum-beads | 0.59747 | 0.67854 | Y | Y | 11.0853 | Y | Y | 4.7824 | Y | Y | 8.0603 | Y | Y | n.a. | N# | N# | 0.27975 | Y | Y | 3.6262 | Y | Y | 3.2218 | Y | Y
A18 | serum-gel | 0.6653 | 0.82505 | Y | Y | 3.1709 | Y | Y | 12.1036 | Y | Y | 13.8047 | Y | Y | n.a. | N# | N# | 2.8982 | Y | Y | 2.0496 | Y | Y | 1.1049 | Y | Y
A18 | plasma-hep | 0.6754 | 1.5154 | Y | Y | 3.738 | Y | Y | 0.58681 | Y | Y | 2.0696 | Y | Y | n.a. | N# | N# | 3.3695 | Y | Y | n.a. | N* | N* | 13.0814 | Y | Y
A18 | serum-beads | 0.6754 | 5.6462 | Y | Y | 3.8395 | Y | Y | 15.1091 | Y | Y | 15.358 | Y | Y | n.a. | N# | N# | 1.3371 | Y | Y | 5.0149 | Y | Y | 4.6072 | Y | Y
A19£ | serum-gel | 0.27176 | 3.9219 | Y | Y | n.a. | N# | N# | 7.4432 | Y | Y | 25.713 | Y | Y | n.a. | N# | N# | 2.8195 | Y | Y | 5.4393 | Y | Y | 24.1158 | Y | Y
A19£ | plasma-hep | 0.28016 | 2.9227 | Y | Y | n.a. | N# | N# | 9.7054 | Y | Y | 3.9837 | Y | Y | n.a. | N# | N# | 2.685 | Y | Y | 2.6683 | Y | Y | 7.5604 | Y | Y
A19 | serum-beads | 0.29441 | 1.7361 | Y | Y | n.a. | N# | N# | 5.2378 | Y | Y | 11.1423 | Y | Y | n.a. | N# | N# | 4.3698 | Y | Y | 2.6683 | Y | Y | 16.6442 | Y | Y
A20£ | serum-gel | 0.19777 | n.a. | N# | N# | n.a. | N# | N# | 8.8388 | Y | Y | n.a. | N# | N# | n.a. | N# | N# | 1.9463 | Y | Y | n.a. | N# | N# | n.a. | N# | N#
A20£ | plasma-hep | 0.21103 | n.a. | N# | N# | n.a. | N# | N# | 8.4291 | Y | Y | n.a. | N# | N# | n.a. | N# | N# | 4.291 | Y | Y | n.a. | N# | N# | n.a. | N# | N#
A20£ | serum-beads | 0.215 | n.a. | N# | N# | n.a. | N# | N# | 5.5824 | Y | Y | 6.1488 | Y | Y | n.a. | N# | N# | 3.1445 | Y | Y | n.a. | N# | N# | n.a. | N# | N#
A21 | serum-gel | 0.43298 | 3.6471 | Y | Y | 0.99593 | Y | Y | 5.3569 | Y | Y | 0 | Y | Y | n.a. | N# | N# | 0.084284 | Y | Y | 1.6255 | Y | Y | 6.8217 | Y | Y
A21 | plasma-hep | 0.42853 | 1.8375 | Y | Y | 12.2216 | Y | Y | 8.6233 | Y | Y | 8.1814 | Y | Y | n.a. | N# | N# | 2.0032 | Y | Y | 3.3672 | Y | Y | 4.9371 | Y | Y
A21 | serum-beads | 0.44256 | 0.017434 | Y | Y | 1.4992 | Y | Y | 5.8364 | Y | Y | 5.5758 | Y | Y | n.a. | N# | N# | 2.2264 | Y | Y | 0 | Y | Y | 4.8715 | Y | Y
A22 | serum-gel | 0.81991 | 3.1926 | Y | Y | 3.3007 | Y | Y | 6.6813 | Y | Y | 27.9121 | Y | Y | n.a. | N# | N# | 1.3069 | Y | Y | 1.6255 | Y | Y | 11.9932 | Y | Y
A22 | plasma-hep | 0.81894 | 0.14899 | Y | Y | 8.0147 | Y | Y | 7.5529 | Y | Y | 5.9421 | Y | Y | n.a. | N# | N# | 1.519 | Y | Y | 2.344 | Y | Y | 15.4448 | Y | Y
A22 | serum-beads | 0.8457 | 3.0754 | Y | Y | 6.2747 | Y | Y | 13.5182 | Y | Y | 5.5175 | Y | Y | n.a. | N# | N# | 1.2994 | Y | Y | 6.356 | Y | Y | 2.0888 | Y | Y
A23 | serum-gel | 3.7518 | 3.5779 | Y | Y | 2.2055 | Y | Y | 2.6464 | Y | Y | 4.0992 | Y | Y | 2.8172 | Y | Y | 2.2218 | Y | Y | 3.1427 | Y | Y | 10.7236 | Y | Y
A23 | plasma-hep | 3.9118 | 3.4701 | Y | Y | 4.542 | Y | Y | 5.8874 | Y | Y | 5.0918 | Y | Y | 8.6585 | Y | Y | 2.1438 | Y | Y | 4.7551 | Y | Y | 16.1004 | Y | Y
A23 | serum-beads | 3.7623 | 0.94893 | Y | Y | 11.7255 | Y | Y | 6.139 | Y | Y | 4.661 | Y | Y | 6.0883 | Y | Y | 3.1963 | Y | Y | 1.7163 | Y | Y | 7.1915 | Y | Y
A24 | serum-gel | 0.67 | 1.7828 | Y | Y | 27.4576 | Y | Y | 10.0767 | Y | Y | 15.5527 | Y | Y | n.a. | N# | N# | 3.4523 | Y | Y | 2.1108 | Y | Y | 11.8731 | Y | Y
A24 | plasma-hep | 0.6754 | 3.3658 | Y | Y | 9.6698 | Y | Y | 11.3505 | Y | Y | 4.767 | Y | Y | n.a. | N# | N# | 2.2289 | Y | Y | 3.0523 | Y | Y | 20.7702 | Y | Y
A24 | serum-beads | 0.7 | 8.7099 | Y | Y | 0.28686 | Y | Y | 4.6477 | Y | Y | 16.9367 | Y | Y | n.a. | N# | N# | 0.11781 | Y | Y | 0 | Y | Y | 3.2522 | Y | Y
A25 | serum-gel | 0.46903 | 0.93247 | Y | Y | 3.046 | Y | Y | 0 | Y | Y | 7.7949 | Y | Y | n.a. | N# | N# | 2.9036 | Y | Y | 1.458 | Y | Y | 3.5125 | Y | Y
A25 | plasma-hep | 0.485 | 5.1651 | Y | Y | 1.4002 | Y | Y | 15.38 | Y | Y | 3.7357 | Y | Y | n.a. | N# | N# | 0.93855 | Y | Y | 4.3739 | Y | Y | 6.3812 | Y | Y
A25 | serum-beads | 0.485 | 0.24657 | Y | Y | 9.0973 | Y | Y | 4.2855 | Y | Y | 18.8902 | Y | Y | n.a. | N# | N# | 3.7633 | Y | Y | 1.458 | Y | Y | 3.5949 | Y | Y
A26 | serum-gel | 0.7867 | 5.8083 | Y | Y | 6.3088 | Y | Y | 13.1047 | Y | Y | 10.3768 | Y | Y | n.a. | N# | N# | 1.5086 | Y | Y | 2.5104 | Y | Y | 6.5246 | Y | Y
A26 | plasma-hep | 0.8457 | 3.4597 | Y | Y | 1.3168 | Y | Y | 1.448 | Y | Y | 4.9796 | Y | Y | n.a. | N# | N# | 0.26769 | Y | Y | 2.4524 | Y | Y | 12.5267 | Y | Y
A26 | serum-beads | 0.82982 | 1.7383 | Y | Y | 3.1974 | Y | Y | 6.4773 | Y | Y | 8.2841 | Y | Y | n.a. | N# | N# | 0.88231 | Y | Y | 5.4693 | Y | Y | 10.983 | Y | Y
Duplicate measurement CV data are from in house calibration.
serum-gel: serum from blood collected by gel separator vacuum tube; plasma-hep: plasma from blood collected by Li-heparin vacuum tube; serum-beads: serum from blood collected by beads clot activator vacuum tube; Y: yes; N: no.
# result on one or both aliquots below laboratory LLOQ
CV >30%
£below the external measurement range in one or more laboratories
* data lost due to procedural reasons

## Suppl. Table 4
Supplemental Table 3. List of sample intra-laboratory CV and use in the study analyses of cortisone measurements
SUBJECT ID | Specimen/EQA | All lab median | Lab B |  |  | Lab C |  |  | Lab D |  |  | Lab E |  |  | Lab G |  |  | Lab H |  |  | Lab I |  |  | Lab L
|  | (nmol/L) | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study | Duplicate measurement CV (%) | used in intra-lab study | used in inter-lab study
A01 | serum-gel | 58.4516 | 0.21449 | Y | Y | 11.6084 | Y | Y | 0.49362 | Y | Y | 6.728 | Y | Y | 0.045371 | Y | Y | 0.74924 | Y | Y | 0.49743 | Y | Y | 17.5426 | Y | Y
A01 | plasma-hep | 60.3443 | 1.2839 | Y | Y | 6.896 | Y | Y | 7.3061 | Y | Y | 1.3848 | Y | Y | 0.43091 | Y | Y | 7.0746 | Y | Y | 6.3908 | Y | Y | 13.0156 | Y | Y
A01 | serum-beads | 58.1095 | 0.46009 | Y | Y | 8.6166 | Y | Y | 4.8818 | Y | Y | 3.0253 | Y | Y | 1.6071 | Y | Y | 3.3693 | Y | Y | 3.232 | Y | Y | 19.2981 | Y | Y
A02 | serum-gel | 56.9249 | 1.9982 | Y | Y | 12.6214 | Y | Y | 6.1373 | Y | Y | 6.3355 | Y | Y | 5.1075 | Y | Y | 2.623 | Y | Y | 0.036172 | Y | Y | 24.6063 | Y | Y
A02 | plasma-hep | 53.1623 | 5.2147 | Y | Y | 16.9449 | Y | Y | 2.5975 | Y | Y | 3.1833 | Y | Y | 12.5364 | Y | Y | 0.10339 | Y | Y | 2.3498 | Y | Y | 22.7628 | Y | Y
A02 | serum-beads | 52.4423 | 0.20904 | Y | Y | 2.1574 | Y | Y | 0.71098 | Y | Y | 4.4804 | Y | N | 0.42748 | Y | Y | 7.1874 | Y | Y | 1.7628 | Y | Y | 27.5939 | Y | Y
A03 | serum-gel | 69.4681 | 2.4804 | Y | Y | 2.0026 | Y | Y | 5.06 | Y | Y | 3.932 | Y | Y | 3.181 | Y | Y | 1.0914 | Y | Y | 0.45742 | Y | Y | 18.3845 | Y | Y
A03 | plasma-hep | 67.7961 | 6.1729 | Y | Y | 12.1712 | Y | Y | 0.353 | Y | Y | 1.7067 | Y | Y | 4.1104 | Y | Y | 5.9373 | Y | Y | 6.6488 | Y | Y | 32.418 | Y | N
A03 | serum-beads | 67.7388 | 4.5003 | Y | Y | 8.0484 | Y | Y | 3.5085 | Y | Y | 4.9251 | Y | Y | 0.18776 | Y | Y | 5.0069 | Y | Y | 0.52666 | Y | Y | 28.3835 | Y | Y
A04 | serum-gel | 58.2047 | 3.4903 | Y | Y | 2.7401 | Y | Y | 0.35786 | Y | Y | 4.3397 | Y | Y | 7.7979 | Y | Y | 0.069623 | Y | Y | 1.8983 | Y | Y | 34.0168 | Y | N
A04 | plasma-hep | 57.0305 | 0.584 | Y | Y | 5.1698 | Y | Y | 1.0279 | Y | Y | 4.6786 | Y | Y | 2.1354 | Y | Y | 7.3125 | Y | Y | 1.0633 | Y | Y | 32.9169 | Y | N
A04 | serum-beads | 57.5999 | 2.8811 | Y | Y | 7.9002 | Y | Y | 0.097311 | Y | Y | 5.3436 | Y | Y | 1.5371 | Y | Y | 11.8048 | Y | Y | 1.035 | Y | Y | 20.6071 | Y | Y
A05 | serum-gel | 65.5266 | 0.97045 | Y | Y | 11.5462 | Y | Y | 2.4181 | Y | Y | 6.1565 | Y | Y | 6.0099 | Y | Y | 1.8894 | Y | Y | 0.84471 | Y | Y | 36.4339 | Y | N
A05 | plasma-hep | 66.4282 | 2.2699 | Y | Y | 4.3102 | Y | Y | 0.090713 | Y | Y | 2.687 | Y | Y | 2.1872 | Y | Y | 7.0624 | Y | Y | 0.34548 | Y | Y | 26.2508 | Y | Y
A05 | serum-beads | 66.7345 | 0.041269 | Y | Y | 3.1572 | Y | Y | 0.82454 | Y | Y | 6.8831 | Y | Y | 0.45479 | Y | Y | 2.6721 | Y | Y | 0.83337 | Y | Y | 25.9385 | Y | Y
A06 | serum-gel | 60.3605 | 0.29296 | Y | Y | 8.6107 | Y | Y | 5.1664 | Y | Y | 1.4206 | Y | Y | 1.8921 | Y | Y | 2.5111 | Y | Y | 3.8808 | Y | Y | 19.0837 | Y | Y
A06 | plasma-hep | 62.2075 | 2.1749 | Y | Y | 9.2424 | Y | Y | 3.3573 | Y | Y | 3.4225 | Y | Y | 3.2963 | Y | Y | 11.9742 | Y | Y | 3.625 | Y | Y | 0.82572 | Y | Y
A06 | serum-beads | 60.0432 | 0.68017 | Y | Y | 1.1161 | Y | Y | 2.8797 | Y | Y | 5.2365 | Y | Y | 3.0048 | Y | Y | 6.6127 | Y | Y | 6.3994 | Y | Y | 0.24457 | Y | Y
A07 | serum-gel | 60.7058 | 1.9496 | Y | Y | 3.4154 | Y | Y | 0.47451 | Y | Y | 2.9766 | Y | Y | 4.9163 | Y | Y | 2.5856 | Y | Y | 1.5981 | Y | Y | 1.9042 | Y | Y
A07 | plasma-hep | 61.1694 | 1.5063 | Y | Y | 2.4859 | Y | Y | 1.2317 | Y | Y | 4.4487 | Y | Y | 0.27016 | Y | Y | 9.2944 | Y | Y | 5.6448 | Y | Y | 1.1541 | Y | Y
A07 | serum-beads | 62.158 | 0.85308 | Y | Y | 7.8709 | Y | Y | 0.47116 | Y | Y | 4.5736 | Y | Y | 1.9831 | Y | Y | 3.6673 | Y | Y | 7.2868 | Y | Y | 3.4388 | Y | Y
A08 | serum-gel | 64.4023 | 4.249 | Y | Y | 6.1313 | Y | Y | 1.1658 | Y | Y | 3.5829 | Y | Y | 0.81796 | Y | Y | 7.0866 | Y | Y | 2.6183 | Y | Y | 0.20408 | Y | Y
A08 | plasma-hep | 63.1769 | 0.606 | Y | Y | 8.0517 | Y | Y | 0.65201 | Y | Y | 2.1745 | Y | Y | 0.3032 | Y | Y | 6.5541 | Y | Y | n.a. | N* | N* | 4.6577 | Y | Y
A08 | serum-beads | 61.8424 | 0.93245 | Y | Y | 0.26468 | Y | Y | 4.398 | Y | Y | 2.6648 | Y | Y | 1.6403 | Y | Y | 8.4621 | Y | Y | 0.99243 | Y | Y | 2.4173 | Y | Y
A09 | serum-gel | 69.4885 | 1.6021 | Y | Y | 0.14628 | Y | Y | 1.2264 | Y | Y | 3.7706 | Y | Y | 0.38975 | Y | Y | 0.87517 | Y | Y | 1.9655 | Y | Y | 4.4314 | Y | Y
A09 | plasma-hep | 68.5023 | 4.3242 | Y | Y | 7.8518 | Y | Y | 0.97942 | Y | Y | 4.4695 | Y | Y | 4.1325 | Y | Y | 1.4376 | Y | Y | n.a. | N* | N* | 1.2592 | Y | Y
A09 | serum-beads | 68.167 | 1.149 | Y | Y | 7.6874 | Y | Y | 1.3689 | Y | Y | 1.4761 | Y | Y | 5.2657 | Y | Y | 3.0028 | Y | Y | 2.3065 | Y | Y | 0.52147 | Y | Y
A10 | serum-gel | 70.3371 | 7.7905 | Y | Y | 7.1091 | Y | Y | 1.3737 | Y | Y | 1.7598 | Y | Y | 5.095 | Y | Y | 3.3619 | Y | Y | 0.727 | Y | Y | 1.156 | Y | Y
A10 | plasma-hep | 67.3306 | 7.9749 | Y | Y | 9.1504 | Y | Y | 4.14 | Y | Y | 1.8109 | Y | Y | 1.5802 | Y | Y | 1.1618 | Y | Y | 3.2292 | Y | Y | 2.3595 | Y | Y
A10 | serum-beads | 67.6687 | 0.63181 | Y | Y | 6.5298 | Y | Y | 0.092314 | Y | Y | 0.66825 | Y | Y | 0.75799 | Y | Y | 2.724 | Y | Y | 0.23507 | Y | Y | 5.2338 | Y | Y
A11 | serum-gel | 58.9509 | 0.24586 | Y | Y | 11.6707 | Y | Y | 1.9048 | Y | Y | 8.0151 | Y | Y | 4.8863 | Y | Y | 0.42247 | Y | Y | 1.593 | Y | Y | 10.5928 | Y | Y
A11 | plasma-hep | 55.8542 | 1.7948 | Y | Y | 7.7632 | Y | Y | 2.152 | Y | Y | 6.4541 | Y | Y | 1.4733 | Y | Y | 8.7055 | Y | Y | 6.0857 | Y | Y | 0.19248 | Y | Y
A11 | serum-beads | 56.289 | 0.72151 | Y | Y | 8.1158 | Y | Y | 4.7548 | Y | Y | 3.3003 | Y | Y | 0.53608 | Y | Y | 3.1136 | Y | Y | 6.6416 | Y | Y | 2.5066 | Y | Y
A12 | serum-gel | 45.8473 | 0.96831 | Y | Y | 3.8854 | Y | Y | 0.56774 | Y | Y | 4.8408 | Y | Y | 2.2429 | Y | Y | 2.1867 | Y | Y | 3.2371 | Y | Y | 9.6199 | Y | Y
A12 | plasma-hep | 44.5414 | 0.55524 | Y | Y | 0.47719 | Y | Y | 1.7578 | Y | Y | 2.6792 | Y | Y | 2.6444 | Y | Y | 7.5048 | Y | Y | 1.4883 | Y | Y | 4.96 | Y | Y
A12 | serum-beads | 44.9174 | 0.24375 | Y | Y | 3.5882 | Y | Y | 3.1 | Y | Y | 4.5027 | Y | Y | 0.26722 | Y | Y | 9.8667 | Y | Y | 2.0823 | Y | Y | 4.6356 | Y | Y
A13 | serum-gel | 42.0311 | 2.1789 | Y | Y | 9.5933 | Y | Y | 0.6464 | Y | Y | 1.7621 | N# | N# | 2.8164 | Y | Y | 1.1268 | Y | Y | 2.7742 | Y | Y | 6.1717 | Y | Y
A13 | plasma-hep | 41.2288 | 0.51243 | Y | Y | 11.4874 | Y | Y | 0.99364 | Y | Y | 3.7229 | N# | N# | 3.3545 | Y | Y | 7.1445 | Y | Y | 15.4271 | Y | Y | 10.3875 | Y | Y
A13 | serum-beads | 40.3748 | 3.2966 | Y | Y | 2.6166 | Y | Y | 0.25617 | Y | Y | 6.9062 | Y | Y | 2.1502 | Y | Y | 13.7557 | Y | Y | 2.9508 | Y | Y | 2.8326 | Y | Y
A14 | serum-gel | 55.9744 | 1.6353 | Y | Y | 7.1504 | Y | Y | 2.6 | Y | Y | 2.9042 | Y | Y | 11.199 | Y | Y | 5.27 | Y | Y | 0.65582 | Y | Y | 4.7501 | Y | Y
A14 | plasma-hep | 55.0002 | 0.9765 | Y | Y | 8.0774 | Y | Y | 1.8153 | Y | Y | 3.5276 | Y | Y | 1.9932 | Y | Y | 0.98394 | Y | Y | 0.724 | Y | Y | 1.0985 | Y | Y
A14 | serum-beads | 53.9538 | 3.2843 | Y | Y | 11.2932 | Y | Y | 3.261 | Y | Y | 5.6985 | Y | Y | 1.8622 | Y | Y | 23.0897 | Y | Y | 2.583 | Y | Y | 7.4804 | Y | Y
A15 | serum-gel | 44.6431 | 3.1687 | Y | Y | 4.5515 | Y | Y | 0.42709 | Y | Y | 1.2881 | Y | Y | 2.2899 | Y | Y | 1.5533 | Y | Y | 0.71978 | Y | Y | 4.6032 | Y | Y
A15 | plasma-hep | 44.2544 | 0.23882 | Y | Y | 8.3233 | Y | Y | 1.7663 | Y | Y | 5.4084 | Y | Y | 0.20824 | Y | Y | 13.4932 | Y | Y | 0.83788 | Y | Y | 10.1427 | Y | Y
A15 | serum-beads | 41.812 | 0.98587 | Y | Y | 1.0975 | Y | Y | 2.891 | Y | Y | 3.8083 | Y | Y | 1.6004 | Y | Y | 12.234 | Y | Y | 2.4916 | Y | Y | 9.5996 | Y | Y
A16 | serum-gel | 49.7864 | 0.50444 | Y | Y | 3.3157 | Y | Y | 1.2002 | Y | Y | 2.8588 | Y | Y | 0.64576 | Y | Y | 4.0219 | Y | Y | 1.1398 | Y | Y | 6.5711 | Y | Y
A16 | plasma-hep | 48.3542 | 0.88321 | Y | Y | 0.42153 | Y | Y | 0.82512 | Y | Y | 3.5075 | Y | Y | 2.8816 | Y | Y | 9.3034 | Y | Y | 2.5301 | Y | Y | 2.5966 | Y | Y
A16 | serum-beads | 48.2442 | 1.9137 | Y | Y | 8.5773 | Y | Y | 3.4262 | Y | Y | 2.4735 | Y | Y | 0.45637 | Y | Y | 23.3603 | Y | Y | 0.96904 | Y | Y | 1.5296 | Y | Y
A17 | serum-gel | 47.5546 | 0.20268 | Y | Y | 4.227 | Y | Y | 1.4676 | Y | Y | 3.94 | Y | Y | 3.4465 | Y | Y | 5.559 | Y | Y | 1.204 | Y | Y | 0.1427 | Y | Y
A17 | plasma-hep | 49.4422 | 1.5345 | Y | Y | 7.4263 | Y | Y | 0.89295 | Y | Y | 5.4734 | Y | Y | 5.2564 | Y | Y | 2.5674 | Y | Y | 1.1706 | Y | Y | 1.9726 | Y | Y
A17 | serum-beads | 44.6647 | 0.66126 | Y | Y | 11.2117 | Y | Y | 1.6431 | Y | Y | 2.5299 | Y | Y | 0.18291 | Y | Y | 19.4108 | Y | Y | 0.67071 | Y | Y | 8.4429 | Y | Y
A18 | serum-gel | 50.2797 | 1.3449 | Y | Y | 2.3036 | Y | Y | 0.37614 | Y | Y | 2.6714 | Y | Y | 4.3977 | Y | Y | 7.0448 | Y | Y | 1.2324 | Y | Y | 3.1593 | Y | Y
A18 | plasma-hep | 49.76 | 7.6745 | Y | Y | 5.944 | Y | Y | 3.1331 | Y | Y | 2.8203 | Y | Y | 1.8758 | Y | Y | 0.061866 | Y | Y | n.a. | N* | N* | 23.2049 | Y | Y
A18 | serum-beads | 49.785 | 2.064 | Y | Y | 8.2169 | Y | Y | 0.12494 | Y | Y | 3.9505 | Y | Y | 3.5184 | Y | Y | 10.1119 | Y | Y | 0.84667 | Y | Y | 3.4787 | Y | Y
A19 | serum-gel | 39.855 | 1.5933 | Y | Y | 5.1689 | Y | Y | 1.6402 | Y | Y | 5.1183 | Y | Y | 1.4826 | Y | Y | 2.677 | Y | Y | 1.0397 | Y | Y | 10.2261 | Y | Y
A19 | plasma-hep | 38.1115 | 6.141 | Y | Y | 15.7631 | Y | Y | 0.96112 | Y | Y | 1.0856 | Y | Y | 3.2569 | Y | Y | 3.0045 | Y | Y | 0.27963 | Y | Y | 1.9725 | Y | Y
A19 | serum-beads | 38.274 | 2.4165 | Y | Y | 1.5255 | Y | Y | 2.5316 | Y | Y | 2.9723 | Y | Y | 6.3387 | Y | Y | 12.7991 | Y | Y | 3.2527 | Y | Y | 3.9603 | Y | Y
A20 | serum-gel | 39.2315 | 0.29012 | Y | Y | 2.4741 | Y | Y | 1.1975 | Y | Y | 2.7088 | N# | N# | 6.2936 | Y | Y | 7.2289 | Y | Y | 0.052921 | Y | Y | 9.9495 | Y | Y
A20 | plasma-hep | 38.8591 | 0.71603 | Y | Y | 12.3439 | Y | Y | 1.8479 | Y | Y | 4.2867 | N# | N# | 3.1244 | Y | Y | 12.6029 | Y | Y | 25.3189 | Y | Y | 0.26782 | Y | Y
A20 | serum-beads | 39.631 | 2.3872 | Y | Y | 8.4708 | Y | Y | 1.462 | Y | Y | 4.9004 | Y | Y | 1.1575 | Y | Y | 10.8144 | Y | Y | 0.64007 | Y | Y | 7.0854 | Y | Y
A21 | serum-gel | 68.182 | 0.92016 | Y | Y | 0.25636 | Y | Y | 0.79401 | Y | Y | 2.6086 | Y | Y | 4.282 | Y | Y | 2.0471 | Y | Y | 0.44987 | Y | Y | 2.0909 | Y | Y
A21 | plasma-hep | 68.4172 | 3.6877 | Y | Y | 6.5852 | Y | Y | 0.65487 | Y | Y | 3.2676 | Y | Y | 0.059571 | Y | Y | 3.8583 | Y | Y | 0.14873 | Y | Y | 2.7713 | Y | Y
A21 | serum-beads | 67.4976 | 0.86753 | Y | Y | 0.4322 | Y | Y | 3.5149 | Y | Y | 3.5296 | Y | Y | 0.39602 | Y | Y | 6.9701 | Y | Y | 0.02012 | Y | Y | 1.9896 | Y | Y
A22 | serum-gel | 75.6158 | 0.48962 | Y | Y | 3.5939 | Y | Y | 0.18195 | Y | Y | 2.1453 | Y | Y | 4.2794 | Y | Y | 2.3618 | Y | Y | 2.7584 | Y | Y | 0.97533 | Y | Y
A22 | plasma-hep | 74.9932 | 1.5157 | Y | Y | 7.0131 | Y | Y | 0.0054774 | Y | Y | 4.5877 | Y | Y | 4.0658 | Y | Y | 1.712 | Y | Y | 3.0978 | Y | Y | 3.2262 | Y | Y
A22 | serum-beads | 73.4237 | 5.357 | Y | Y | 6.939 | Y | Y | 1.4188 | Y | Y | 2.4459 | Y | Y | 0.38647 | Y | Y | 17.3171 | Y | Y | 5.7563 | Y | Y | 10.893 | Y | Y
A23 | serum-gel | 59.86 | 0.72187 | Y | Y | 2.1501 | Y | Y | 0.71678 | Y | Y | 1.7452 | Y | Y | 2.6174 | Y | Y | 5.7816 | Y | Y | 0.93924 | Y | Y | 1.5876 | Y | Y
A23 | plasma-hep | 56.1237 | 3.1792 | Y | Y | 0.33217 | Y | Y | 2.0516 | Y | Y | 6.5192 | Y | Y | 4.6081 | Y | Y | 6.3149 | Y | Y | 1.1209 | Y | Y | 3.9826 | Y | Y
A23 | serum-beads | 56.6331 | 1.6 | Y | Y | 18.6061 | Y | Y | 1.4731 | Y | Y | 3.9897 | Y | Y | 0.10305 | Y | Y | 16.9965 | Y | Y | 0.87428 | Y | Y | 5.4267 | Y | Y
A24 | serum-gel | 63.1349 | 2.1206 | Y | Y | 11.7828 | Y | Y | 3.6804 | Y | Y | 3.6458 | Y | Y | 8.8183 | Y | Y | 1.2847 | Y | Y | 1.4804 | Y | Y | 0.95408 | Y | Y
A24 | plasma-hep | 60.8587 | 0.54788 | Y | Y | 6.3577 | Y | Y | 0.57422 | Y | Y | 5.9381 | Y | Y | 0.19049 | Y | Y | 1.5551 | Y | Y | 3.5551 | Y | Y | 0.91237 | Y | Y
A24 | serum-beads | 59.2529 | 2.1655 | Y | Y | 7.2722 | Y | Y | 1.2588 | Y | Y | 5.9949 | Y | Y | 2.6723 | Y | Y | 3.7383 | Y | Y | 0.1879 | Y | Y | 8.9967 | Y | Y
A25 | serum-gel | 43.372 | 1.7994 | Y | Y | 4.9795 | Y | Y | 1.5225 | Y | Y | 6.546 | Y | Y | 0.95663 | Y | Y | 6.869 | Y | Y | 1.4589 | Y | Y | 3.1946 | Y | Y
A25 | plasma-hep | 43.6901 | 2.9086 | Y | Y | 0.88102 | Y | Y | 0.18116 | Y | Y | 3.6049 | Y | Y | 5.5787 | Y | Y | 14.5564 | Y | Y | 1.373 | Y | Y | 3.1338 | Y | Y
A25 | serum-beads | 42.0492 | 2.7577 | Y | Y | 5.9746 | Y | Y | 5.2694 | Y | Y | 5.169 | Y | Y | 0.6261 | Y | Y | 10.27 | Y | Y | 0.41772 | Y | Y | 0.89613 | Y | Y
A26 | serum-gel | 53.5175 | 2.5929 | Y | Y | 10.2139 | Y | Y | 0.023978 | Y | Y | 1.0184 | Y | Y | 0.9317 | Y | Y | 3.1668 | Y | Y | 0.6652 | Y | Y | 3.1036 | Y | Y
A26 | plasma-hep | 53.2355 | 0.60425 | Y | Y | 4.8132 | Y | Y | 3.9133 | Y | Y | 1.6557 | Y | Y | 0.18425 | Y | Y | 12.1053 | Y | Y | 0.90735 | Y | Y | 5.0497 | Y | Y
A26 | serum-beads | 50.0015 | 1.0566 | Y | Y | 4.3452 | Y | Y | 18.722 | Y | Y | 6.2111 | Y | Y | 4.9631 | Y | Y | 4.4523 | Y | Y | 1.4588 | Y | Y | 0.90247 | Y | Y
Duplicate measurement CV data are from in house calibration.
serum-gel: serum from blood collected by gel separator vacuum tube; plasma-hep: plasma from blood collected by Li-heparin vacuum tube; serum-beads: serum from blood collected by beads clot activator vacuum tube; Y: yes; N: no.
# result on one or both aliquots below laboratory LLOQ
CV >30%
* data lost due to procedural reasons