Supplemental Table 1: Results of the calculation of zlog values from the CALIPER study. Only absolute values above 5 are listed, indicating strong jumps of the reference intervals between two age groups. (LL = Lower Reference Limit, UL = Upper Reference Limit)

| Analyte | Sex | Age | Reference Limit | zlog | Reference for the calculation of the zlog value |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Age | Reference Limit |
| Alanine Aminotransferase (U/L) | MF | 1 - < 13 years | 11 - 30 | 5.04 | 0 - < 1 year | 5 (LL) |
| Albumin G (Bromocresol Green) (g/L) | MF | 1 - < 8 years | 38 - 47 | 7.59 | 15 days - < 1 year | 28 (LL) |
| Albumin P (Bromocresol Purple) (g/L) | MF | 1 - < 8 years | 35 - 45 | 7.21 | 15 days - < 1 year | 25 (LL) |
| Alkaline Phosphatase (U/L) | F | 15 - < 17 years | 54 - 128 | 5.52 | 13 - < 15 years | 280 (UL) |
|  | M | 17 - < 19 years | 59 - 164 | 5.03 | 15 - < 17 years | 365 (UL) |
| Amylase (U/L) | MF | 1 - < 19 years | 25 - 101 | 7.91 | 13 weeks - < 1 year | 3 (LL) |
| Apolipoprotein AI (g/L) | F | 0 - 14 days | 0.71 - 0.97 | 5.63 | 15 days - < 1 year | 0.53 (LL) |
|  | F | 0 - 14 days | 0.71 - 0.97 | 9.37 | 15 days - < 1 year | 1.75 (UL) |
|  | M | 0 - 14 days | 0.62 - 0.91 | 8.64 | 15 days - < 1 year | 1.75 (UL) |
| Apolipoprotein B (g/L) | MF | 1 - < 6 years | 0.41 - 0.93 | 5.64 | 15 days - < 1 year | 0.19 (UL) |
| Carbon Dioxide (mmol/L) | MF | 15 days - < 1 year | 10 - 24 | 5.06 | 0 - 14 days | 5 (UL) |
| Cholesterol (mmol/L) | MF | 1 - < 19 years | 2.9 - 5.4 | 5.48 | 15 days - < 1 year | 1.66 (LL) |
|  | M | 0 - 14 days | 1.1 - 2.82 | 5.19 | 15 days - < 1 year | 6.13 (UL) |
| Cholinesterase (U/L) | F | 17 - < 19 years | 7511 - 10904 | 5.46 | 1 - < 11 years | 15206 (UL) |
| Complement C3 (g/L) | MF | 1 - < 19 years | 0.83 - 1.52 | 5.12 | 15 days - < 1 year | 0.51 (LL) |
| C-reactive protein (mg/L) | MF | 15 days - < 15 years | 0.1 - 1 | 5.04 | 0 - 14 days | 6.1 (UL) |
| Creatinine (Enzymatic) (µmol/L) | MF | 0 - 14 days | 29 - 82 | 6.37 | 15 days - < 2 years | 9 (LL) |
|  | MF | 2 - < 5 years | 18 - 38 | 5.60 | 15 days - < 2 years | 9 (LL) |
| Creatinine (Jaffe) (µmol/L) | MF | 15 days - < 1 year | 28 - 47 | 7.13 | 0 - 14 days | 93 (UL) |
| Direct Bilirubin (µmol/L) | MF | 0 - 14 days | 5.7 - 12.1 | 12.19 | 15 days - < 1 year | 0.8 (LL) |
| Direct HDL-Cholesterol (mmol/L) | MF | 1 - < 4 years | 0.84 - 1.63 | 8.05 | 15 days - < 1 year | 0.30 (LL) |
| Gamma-Glutamyl Transferase (U/L) | MF | 1 - < 11 years | 6 - 16 | 10.24 | 15 days - < 1 year | 127 (UL) |
| Immunoglobulin G (g/L) | MF | 1 - < 4 years | 3.2 - 11.5 | 5.23 | 15 days - < 1 year | 1.1 (LL) |
| Lactate Dehydrogenase (U/L) | MF | 15 days - < 1 year | 163 - 452 | 5.78 | 0 - 14 days | 1222 (UL) |
| Prealbumin (g/L) | MF | 1 - < 5 years | 0.12 - 0.23 | 7.24 | 0 - 14 days | 0.02 (LL) |
| Total Bilirubin (µmol/L) | MF | 15 days - < 1 year | 0.8 - 11.7 | 6.62 | 0 - 14 days | 283.8 (UL) |
| Total Protein (g/L) | MF | 1 - < 6 years | 61 - 75 | 8.16 | 15 days - < 1 year | 44 (LL) |
| Transferrin (g/L) | MF | 1 - < 19 years | 2.2 - 3.37 | 8.59 | 9 weeks - < 1 year | 1.07 (LL) |
| Urea (mmol/L) | MF | 1 - < 10 years | 3.2 - 7.9 | 6.21 | 15 days - < 1 year | 1.2 (LL) |