**Supplemental Figure 1. Whole blood stability of biochemical analytes collected in lithium heparin, stored at room temperature (RT) for 8-hours and analyzed on the Werfen GEM Premier 5000 blood gas analyzer.** The percent deviation (%PD) at 8-hours is shown for each volunteer (n=5) and is indicated by the dark grey circles. The positive and negative MPI limits are indicated by the black horizontal lines for each analyte.