Supplementary Material. Combined uncertainty calculation for the unbound phenytoin in serum measured using the law for the propagation of uncertainty considering a non-specific binding effect.

According to the GUM law for the propagation of uncertainty [1], the combined standard uncertainty related to the mass concentration of free phenytoin in serum (Pfree), ucPfree), is given in terms of partial derivatives of Pfree concerning each of the inputs and the standard uncertainties of these inputs:

When the ultrafiltration procedure is used, and a significant bias related to the non-specific binding exists:

The Pfree is defined by the formula:

Pfree=PUFREC=m1-m0-Top·PUF·PTPpost·m1-m2+PUF·m3-m0-Bottom												Eq. (S1)

and its ucPfree:

uc2Pfree=∂Pfree∂PUF2·uc2PUF

+∂Pfree∂PT2·uc2PT

+∂Pfree∂Ppost2·uc2Ppost

+∂Pfree∂m0-Top2·uc2m0-Top

+∂Pfree∂m0-Bottom2·uc2m0-Bottom

+∂Pfree∂m12·uc2m1

+∂Pfree∂m22·uc2m2

+∂Pfree∂m32·uc2m3

+2·rPUF,PT·∂PfreePUF·∂Pfree∂PT·ucPUF·ucPT

+2·rPUF,Ppost·∂PfreePUF·∂Pfree∂PHNt-post·ucPUF·ucPpost

+2·rPUF,m0-Top·∂Pfree∂PUF·∂Pfree∂m0-Top·ucPUF·ucm0-Top

+2·rPUF,m0-Bottom·∂Pfree∂PHNUF·∂Pfree∂m0-Bottom·ucPUF·ucm0-Bottom

+2·rPUF,m1·∂Pfree∂PUF·∂Pfree∂m1·ucPUF·ucm1

+2·rPUF,m2·∂Pfree∂PUF·∂Pfree∂m2·ucPUF·ucm2

+2·rPUF,m3·∂Pfree∂PUF·∂Pfree∂m3·ucPUF·ucm3

+2·rPT,Ppost·∂Pfree∂PT·∂Pfree∂Ppost·ucPT·ucPpost

+2·rPT,m0-Top·∂Pfree∂PT·∂Pfree∂m0-Top·ucPT·ucm0-Top

+2·rPT,m0-Bottom·∂Pfree∂PT·∂Pfree∂m0-Bottom·ucPT·ucm0-Bottom

+2·rPT,m1·∂Pfree∂PT·∂Pfree∂m1·ucPT·ucm1

+2·rPT,m2·∂Pfree∂PT·∂Pfree∂m2·ucPT·ucm2

+2·rPT,m3·∂Pfree∂PT·∂Pfree∂m3·ucPT·ucm3

+2·rPpost,m0-Top·∂Pfree∂Ppost·∂Pfree∂m0-Top·ucPpost·ucm0-Top

+2·rPpost,m0-Bottom·∂Pfree∂Ppost·∂Pfree∂m0-Bottom·ucPpost·ucm0-Bottom

+2·rPpost,m1·∂Pfree∂Ppost·∂Pfree∂m1·ucPpost·ucm1

+2·rPpost,m2·∂Pfree∂Ppost·∂Pfree∂m2·ucPpost·ucm2

+2·rPpost,m3·∂Pfree∂Ppost·∂Pfree∂m3·ucPpost·ucm3

+2·rm0-Top,m0-Bottom·∂Pfree∂m0-Top·∂Pfree∂m0-Bottom·ucm0-Top·ucm0-Bottom

+2·rm0-Top,m1·∂Pfree∂m0-Top·∂Pfree∂m1·ucm0-Top·ucm1

+2·rm0-Top,m2·∂Pfree∂m0-Top·∂Pfree∂m2·ucm0-Top·ucm2

+2·rm0-Top,m1·∂Pfree∂m0-Top·∂Pfree∂m3·ucm0-Top·ucm3

+2·rm0-Bottom,m1·∂Pfree∂m0-Bottom·∂Pfree∂m1·ucm0-Bottom·ucm1

+2·rm0-Bottom,m2·∂Pfree∂m0-Bottom·∂Pfree∂m2·ucm0-Bottom·ucm2

+2·rm0-Bottom,m3·∂Pfree∂m0-Bottom·∂Pfree∂m3·ucm0-Bottom·ucm3

+2·rm1,m2·∂Pfree∂m1·∂Pfree∂m2·ucm1·ucm2

+2·rm1,m3·∂Pfree∂m1·∂Pfree∂m3·ucm1·ucm3

+2·rm2,m3·∂Pfree∂m2·∂Pfree∂m3·ucm2·ucm3   										Eq. (S2)

Where PT is the mass concentration of total (bound+unbound) phenytoin in serum measured before the ultrafiltration procedure; Ppost, the mass concentration of total (bound+unbound) phenytoin in serum obtained in the top Centrifree® device after the ultrafiltration procedure; PUF, the mass concentration of phenytoin in the ultrafiltrate obtained in the bottom Centrifree® device after the ultrafiltration procedure; m1, the top Centrifree® device mass-weighted after serum sample volume addition; m2, the top Centrifree® device mass-weighted obtained after centrifugation process; m3, the bottom Centrifree® device mass-weighted obtained after centrifugation process; m0-Bottom, the bottom Centrifree® device mass-weighted before serum sample volume addition; m0-Top, the top Centrifree® device mass-weighted before serum sample volume addition.

For estimating the standard uncertainty of the output Pfree we require the following eight partial derivatives:

∂Pfree∂PUF=PT·Ppost·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2  													Eq. (S3)

∂Pfree∂PT=PUF·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom  													Eq. (S4)

∂Pfree∂Ppost=-PUF·PT·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2 													Eq. (S5)

∂Pfree∂m0-Top=-PUF·PTPpost·m1-m2+PUF·m3-m0-Bottom 													Eq. (S6)

∂Pfree∂m0-Bottom=PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2 												Eq. (S7)

∂Pfree∂m1=PUF·PT·-m2·Ppost+m0-Top·PPost+m3-m0-BottomPpost·m1-m2+PUF·m3-m0-Bottom2 												Eq. (S8)

∂Pfree∂m2=PUF·PT·PPost·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2 													Eq. (S9)

∂Pfree∂m3=-PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2 													Eq. (S10)

The partial derivatives give the sensitivities of Pfree regarding the various input quantities. The required ucPfree in Pfree is then given by:

uc2Pfree=PT·Ppost·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom22·uc2PUF

+PUF·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·uc2PT

+PUF·PT·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom22·uc2Ppost

+PUF·PTPpost·m1-m2+PUF·m3-m0-Bottom2·uc2m0-Top

+PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom22·uc2m0-Bottom

+PUF·PT·-m2·Ppost+m0-Top·PPost+m3-m0-BottomPpost·m1-m2+PUF·m3-m0-Bottom22·uc2m1

+PUF·PT·PPost·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom22·uc2m2

+PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom22·uc2m3

+2·rPUF,PT·PT·Ppost·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2·PUF·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom·ucPUF·ucPT

-2·rPUF,Ppost·PT·Ppost·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2·PUF·PT·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2·ucPUF·ucPpost

-2·rPUF,m0-Top·PT·Ppost·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2·PUF·PTPpost·m1-m2+PUF·m3-m0-Bottom·ucPUF·ucm0-Top

+2·rPUF,m0-Bottom·PT·Ppost·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2·PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·ucPUF·ucm0-Bottom

+2·rPUF,m1·PT·Ppost·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2·PUF·PT·-m2·Ppost+m0-Top·PPost+m3-m0-BottomPpost·m1-m2+PUF·m3-m0-Bottom2·ucPUF·ucm1

+2·rPUF,m2·PT·Ppost·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2·PUF·PT·PPost·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·ucPUF·ucm2

-2·rPUF,m3·PT·Ppost·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2·PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·ucPUF·ucm3

+2·rPT,Ppost·PUF·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom·PUF·PT·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2·ucPT·ucPpost

-2·rPT,m0-Top·PUF·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom·PUF·PTPpost·m1-m2+PUF·m3-m0-Bottom·ucPT·ucm0-Top

+2·rPT,m0-Bottom·PUF·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom·PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·ucPT·ucm0-Bottom

+2·rPT,m1·PUF·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom·PUF·PT·-m2·Ppost+m0-Top·PPost+m3-m0-BottomPpost·m1-m2+PUF·m3-m0-Bottom2·ucPT·ucm1

+2·rPT,m2·PUF·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom·PUF·PT·PPost·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·ucPT·ucm2

-2·rPT,m3·PUF·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom·PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·ucPT·ucm3

+2·rPpost,m0-Top·PUF·PT·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2·PUF·PTPpost·m1-m2+PUF·m3-m0-Bottom·ucPpost·ucm0-Top

-2·rPpost,m0-Bottom·PUF·PT·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2·PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·ucPpost·ucm0-Bottom

-2·rPpost,m1·PUF·PT·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2·PUF·PT·-m2·Ppost+m0-Top·PPost+m3-m0-BottomPpost·m1-m2+PUF·m3-m0-Bottom2·ucPpost·ucm1

-2·rPpost,m2·PUF·PT·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2·PUF·PT·PPost·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·ucPpost·ucm2

+2·rPpost,m3·PUF·PT·m1-m0-Top·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2·PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·ucPpost·ucm3

-2·rm0-Top,m0-Bottom·PUF·PTPpost·m1-m2+PUF·m3-m0-Bottom·PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·ucm0-Top·ucm0-Bottom

-2·rm0-Top,m1·PUF·PTPpost·m1-m2+PUF·m3-m0-Bottom·PUF·PT·-m2·Ppost+m0-Top·PPost+m3-m0-BottomPpost·m1-m2+PUF·m3-m0-Bottom2·ucm0-Top·ucm1

-2·rm0-Top,m2·PUF·PTPpost·m1-m2+PUF·m3-m0-Bottom·PUF·PT·PPost·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·ucm0-Top·ucm2

+2·rm0-Top,m3·PUF·PTPpost·m1-m2+PUF·m3-m0-Bottom·PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·ucm0-Top·ucm3

+2·rm0-Bottom,m1·PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·PUF·PT·-m2·Ppost+m0-Top·PPost+m3-m0-BottomPpost·m1-m2+PUF·m3-m0-Bottom2·ucm0-Bottom·ucm1

+2·rm0-Bottom,m2·PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·PUF·PT·PPost·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·ucm0-Bottom·ucm2

-2·rm0-Bottom,m3·PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·ucm0-Bottom·ucm3

+2·rm1,m2·PUF·PT·-m2·Ppost+m0-Top·PPost+m3-m0-BottomPpost·m1-m2+PUF·m3-m0-Bottom2·PUF·PT·PPost·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·ucm1·ucm2

-2·rm1,m3·PUF·PT·-m2·Ppost+m0-Top·PPost+m3-m0-BottomPpost·m1-m2+PUF·m3-m0-Bottom2·PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·ucm1·ucm3

-2·rm2,m3·PUF·PT·PPost·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·PUF2·PT·m1-m0-TopPpost·m1-m2+PUF·m3-m0-Bottom2·ucm2·ucm3																						Eq. (11)

Dividing both sides by Pfree2 and rearranging terms, we obtain the following simplified equation:

ucPfree=Pfree·uc2PTPT2+m0-Top2m1-m0-Top2·uc2m0-Topm0-Top2-2·rPT,m0-Top·m0-Topm1-m0-Top·ucPTPT·ucm0-Topm0-Top-2·rm0-Top,m1·-m2·Ppost+m0-Top·PPost+m3-m0-Bottom·m0-Top·m1Ppost·m1-m2+PUF·m3-m0-Bottom·m1-m0-Top2·ucm0-Topm0-Top·ucm1m1+2·rPT,m1·-m2·Ppost+m0-Top·PPost+m3-m0-Bottom·m1Ppost·m1-m2+PUF·m3-m0-Bottom·m1-m0-Top·ucPTPT·ucm1m1+Ppost·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2·uc2PUFPUF2+uc2PpostPpost2-2·rPUF,Ppost·ucPUFPUF·ucPpostPpost+m2m1-m2·+2·rPUF,m2·ucPUFPUF·ucm2m2-2·rPpost,m2·ucPpostPpost·ucm2m2+PUFPpost·m1-m2·+2·rPUF,m0-Bottom·m0-Bottom·ucPUFPUF·ucm0-Bottomm0-Bottom-2·rPpost,m0-Bottom·m0-Bottom·ucPpostPpost·ucm0-Bottomm0-Bottom-2·rPUF,m3·m3·ucPUFPUF·ucm3m3+2·rPpost,m3·m3·ucPpostPpost·ucm3m3+Ppost·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom+2·rPUF,PT·ucPUFPUF·ucPTPT+2·rPT,Ppost·ucPTPT·ucPpostPpost+2·rPT,m2·m2m1-m2ucPTPT·ucm2m2…

…+PUFPpost·m1-m2+PUF·m3-m0-Bottom2·m0-Bottom2·uc2m0-Bottomm0-Bottom2+m32·uc2m3m32+m22·PPost2PUF2·uc2m2m22-2·rm0-Bottom,m3·m0-Bottom·m3ucm0-Bottomm0-Bottom·ucm3m3+2·rm0-Bottom,m2·PPost·m0-Bottom·m2PUF·ucm0-Bottomm0-Bottom·ucm2m2-2·rm2,m3·PPost·m2·m3PUF·ucm2m2·ucm3m3+-m2·Ppost+m0-Top·PPost+m3-m0-BottomPpost·m1-m2+PUF·m3-m0-Bottom2·m1-m0-Top·+m12m1-m0-Top·uc2m1m12+Ppost·m1·m1-m2·+2·rPUF,m1·ucPUFPUF·ucm1m1-2·rPpost,m1ucPpostPpost·ucm1m1+2·rm1,m2·m2m1-m2·ucm1m1·ucm2m2+PUF·m1·+2·rm0-Bottom,m1·m0-Bottom·ucm0-Bottomm0-Bottom·ucm1m1-2·rm1,m3·m3·ucm1m1·ucm3m3+Ppost·m1-m2·m0-TopPpost·m1-m2+PUF·m3-m0-Bottom·m1-m0-Top-2·rPUF,m0-Top·ucPUFPUF·ucm0-Topm0-Top+2·rPpost,m0-Top·ucPpostPpost·ucm0-Topm0-Top-2·rm0-Top,m0-Bottom·PUF·m0-BottomPPost·m1-m2·ucm0-Topm0-Top·ucm0-Bottomm0-Bottom+PUFPpost·m1-m2+PUF·m3-m0-Bottom+2·rPT,m0-Bottom·m0-Bottom·ucPTPT·ucm0-Bottomm0-Bottom-2·rPT,m3·m3·ucPTPT·ucm3m2		Eq. (S12)

Furthermore, if we want to obtain the relative form of the ucPfree, urel,cPfree, considering that:

uc, relPUF=ucPUFPUF 																Eq. (S13)

uc, relPT=ucPTPT 																Eq. (S14)

uc, relPpost=ucPpostPpost 															Eq. (S15)

uc, relm0-Top=ucm0-Topm0-Top 															Eq. (S16)

uc, relm0-Bottom=ucm0-Bottomm0-Bottom 														Eq. (S17)

uc, relm1=ucm1m1 																Eq. (S18)

uc, relm2=ucm2m2 																Eq. (S19)

uc, relm3=ucm3m3 																Eq. (S20)

and substituting the relative equations Eqs. (S13S20) in Eq. (S12), it becomes in:

urel,cPfree=urel,c2PT+m0-Top2m1-m0-Top2·urel,c2m0-Top-2·rPT,m0-Top·m0-Topm1-m0-Top·uc, relPT·uc, relm0-Top-2·rm0-Top,m1·-m2·Ppost+m0-Top·PPost+m3-m0-Bottom·m0-Top·m1Ppost·m1-m2+PUF·m3-m0-Bottom·m1-m0-Top2·uc, relm0-Top·uc, relm1+2·rPT,m1·-m2·Ppost+m0-Top·PPost+m3-m0-Bottom·m1Ppost·m1-m2+PUF·m3-m0-Bottom·m1-m0-Top·uc, relPT·uc, relm1+Ppost·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom2·urel,c2PUF+urel,c2Ppost-2·rPUF,Ppost·uc, relPUF·uc, relPpost+m2m1-m2·+2·rPUF,m2·uc, relPUF·uc, relm2-2·rPpost,m2·uc, relPpost·uc, relm2+PUFPpost·m1-m2·+2·rPUF,m0-Bottom·m0-Bottom·uc, relPUF·uc, relm0-Bottom-2·rPpost,m0-Bottom·m0-Bottom·uc, relPpost·uc, relm0-Bottom-2·rPUF,m3·m3·uc, relPUF·uc, relm3+2·rPpost,m3·m3·uc, relPpost·uc, relm3+Ppost·m1-m2Ppost·m1-m2+PUF·m3-m0-Bottom+2·rPUF,PT·uc, relPUF·ucPTPT+2·rPT,Ppost·uc, relPT·uc, relPpost+2·rPT,m2·m2m1-m2·uc, relPT·uc, relm2+PUFPpost·m1-m2+PUF·m3-m0-Bottom2·m0-Bottom2·urel,c2m0-Bottom+m32·urel,c2m3+m22·PPost2PUF2·urel,c2m2-2·rm0-Bottom,m3·m0-Bottom·m3·uc, relm0-Bottom·uc, relm3+2·rm0-Bottom,m2·PPost·m0-Bottom·m2PUF·uc, relm0-Bottom·uc, relm2-2·rm2,m3·PPost·m2·m3PUF·uc, relm2·uc, relm3…

+…-m2·Ppost+m0-Top·PPost+m3-m0-BottomPpost·m1-m2+PUF·m3-m0-Bottom2·m1-m0-Top·+m12m1-m0-Top·urel,c2m1+Ppost·m1·m1-m2·+2·rPUF,m1·uc, relPUF·uc, relm1-2·rPpost,m1uc, relPpost·uc, relm1+2·rm1,m2·m2m1-m2·uc, relm1·uc, relm2+PUF·m1·+2·rm0-Bottom,m1·m0-Bottom·uc, relm0-Bottom·uc, relm1-2·rm1,m3·m3·uc, relm1·uc, relm3+Ppost·m1-m2·m0-TopPpost·m1-m2+PUF·m3-m0-Bottom·m1-m0-Top-2·rPUF,m0-Top·uc, relPUF·uc, relm0-Top+2·rPpost,m0-Top·uc, relPpost·uc, relm0-Top-2·rm0-Top,m0-Bottom·PUF·m0-BottomPPost·m1-m2·uc, relm0-Top·uc, relm0-Bottom+PUFPpost·m1-m2+PUF·m3-m0-Bottom+2·rPT,m0-Bottom·m0-Bottom·uc, relPT·uc, relm0-Bottom-2·rPT,m3·m3·uc, relPT·uc, relm3		Eq. (S21)

Supplementary Table 1. Correlation coefficients between different quantities obtained from 30 paired values.

| Correlation coefficient | Value |
| --- | --- |
| rPUF,PT | 0.9789 |
| rPUF,Ppost | 0.9815 |
| rPUF,m0-Top | 0.0141 |
| rPUF,m0-Bottom | 0.0241 |
| rPUF,m1 | 0.1403 |
| rPUF,m2 | 0.1252 |
| rPUF,m3 | 0.1774 |
| rPT,Ppost | 0.9654 |
| rPT,m0-Top | 0.0353 |
| rPT,m0-Bottom | 0.0115 |
| rPT,m1 | 0.1165 |
| rPT,m2 | 0.0998 |
| rPT,m3 | 0.1504 |
| rPpost,m0-Top | 0.0412 |
| rPpost,m0-Bottom | 0.0145 |
| rPpost,m1 | 0.1059 |
| rPpost,m2 | 0.0901 |
| rPpost,m3 | 0.1409 |
| rm0-Top,m0-Bottom | 0.0254 |
| rm0-Top,m1 | 0.9735 |
| rm0-Top,m2 | 0.9876 |
| rm0-Top,m3 | 0.9583 |
| rm0-Bottom,m1 | 0.9778 |
| rm0-Bottom,m2 | 0.9632 |
| rm0-Bottom,m3 | 0.9661 |
| rm1,m2 | 0.9664 |
| rm1,m3 | 0.9566 |
| rm2,m3 | 0.9616 |

Reference

- Joint Committee for Guides in Metrology, Evaluation of measurement data  Guide to the expression of uncertainty in measurement; 3rd edition. Guide JCGM 100. Sèvres (France): JCGM. Available from: https://www.bipm.org/utils/common/documents/jcgm/JCGM_100_2008_E.pdf. [Accessed 11 June 2025], 2008.