Method comparison of venous plasma creatinine with creatinine DBS using capillary calibration curve with Hct-correction.

|  | True | False |  |
| --- | --- | --- | --- |
| Positive | 31 | 3 |  |
| Negative | 79 | 3 |  |
| Sensitivity | 91% | PPV | 91% |
| Specificity | 96% | NPV | 96% |

Method comparison of venous plasma creatinine with creatinine DBS using capillary calibration curve without Hct-correction.

|  | True | False |  |
| --- | --- | --- | --- |
| Positive | 29 | 6 |  |
| Negative | 76 | 5 |  |
| Sensitivity | 85% | PPV | 83% |
| Specificity | 93% | NPV | 94% |