SUPPLEMENTAL TABLE 3

Supplemental Table S3. Internal and external quality control practices paraneoplastic syndrome antibody testing – results from Spain.

| Topic | Number of responses | Answers | %a | p-valueb |
| --- | --- | --- | --- | --- |
| Cerebellum |  |  |  |  |
| iQC |  |  |  |  |
| - iQC performed | 28 | Yes | 82 | 0.495 |
| - Frequency | 23 | In each run | 91 | 0.807 |
|  |  | Not in each run | 8.7 | 0.807 |
| - Origin of the iQC sample | 23 | Commercial only | 65 | 0.524 |
|  |  | Patient origin only | 13 | 0.386 |
|  |  | Commercial and patient origin | 22 | 0.973 |
|  |  | Other | 0 | 0.417 |
| eQC |  |  |  |  |
| - labs participating in >1 eQC program | 28 | Yes | 29 | 0.257 |
| ISO-accreditation | 28 | Yes | 3.6 | <0.001 |
|  |  | No | 68 | 0.005 |
|  |  | No, plan to have it in 1 to 2 years | 29 | 0.368 |
| Line blot/dot blot |  |  |  |  |
| iQC |  |  |  |  |
| - iQC performed | 34 | Yes | 27 | 0.044 |
| - Frequency | 9 | Every run | 33 | 0.790 |
|  |  | Every run and at lot change | 0 | 0.773 |
|  |  | At lot change only | 56 | 0.091 |
|  |  | Not in every run, but at a fixed frequency Unclear answer | 0 11 | 0.724 NA |
| ISO-accreditation |  |  |  |  |
| - ISO15189 accreditation | 34 | Yes | 2.9 | <0.001 |
|  |  | No | 65 | 0.006 |
|  |  | No, plan to have it in 1 to 2 years | 32 | 0.256 |

a Expressed on the total of responses for the particular question, unless stated otherwise

bProportions between Spain and the overall dataset were compared using Chi-Square testing with Yates correction, significant differences are indicated in bold

Abbreviations: PNS Ab: paraneoplastic syndrome antibodies; iQC: internal quality control; eQC: external quality control; NA: not applicable