- Supplementary data

RP-HPLC conditions

Clarified milk samples (20 µL) were injected directly into the column (Discovery BIO Supelco C5) after a wash of the needle with acetonitrile/water 50/50 v/v solution. Solvents used during the analysis were mobile phase A (0,025% TFA in H2O LC-MS v/v) and mobile phase B (0,02% TFA in acetonitrile v/v). The elution gradient was:

- From 29,5% to 34% B in 16 min;

- From 34% to 35,5% B in 0,1 min;

- From 35,5% to 37,5% B in 14,9 min;

- From 37,5% to 42% B in 14 min;

- From 42% to 95% B in 0,1 min;

- 95% for 5 min;

- From 95% to 29,5% B in 0,1 min;

- 29,5% B for 10 min.

Chromatographic profile and mass spectra

The following figures show the chromatographic profiles of IAR bulk milk (Figure 1), commercial A2 milk (Figure 2), A2A2 cow (Figure 4), A1A2 cow (Figure 5), BA2 cow Figure 6), BA1 cow (Figure 7), and A2A3/I cow (Figure 8). In addition, all the mass spectra related to IAR bulk milk (Figure 9-24) have been reported as well as the mass spectrum related to β-casein A2 from A2 commercial milk (Figure 3).

Figure 1: Chromatographic profile of IAR bulk milk

Figure 2: Chromatographic profile of A2 commercial milk

Figure 3: Mass spectrum of β-casein A2 from A2 commercial milk

Figure 4: Chromatographic profile of A2A2 cow’s genotype

Figure 5: Chromatographic profile of A1A2 cow’s genotype

Figure 6: Chromatographic profile of BA2 cow’s genotype

Figure 7: Chromatographic profile of BA1 cow’s genotype

Figure 8: Chromatographic profile of A2A3/I cow’s genotype

Figure 9: Mass spectrum of k-casein B 1P 2OG from IAR bulk milk. MW 20901 Da

Figure 10: Mass spectrum of k-casein A 1P from IAR bulk milk. MW 19033 Da

Figure 11: Mass spectrum of k-casein A 2P from IAR bulk milk. MW: 19114

Figure 12: Mass spectrum of k-casein B 1P 1OG from IAR bulk milk. MW: 19949

Figure 13: Mass spectrum of k-casein B 1P from IAR bulk milk. MW: 19014

Figure 14: Mass spectrum of αs2-casein A 11P from IAR bulk milk. MW: 25244

Figure 15: Mass spectrum of αs2-casein A 12P from IAR bulk milk. MW: 25317

Figure 16: Mass spectrum of αs1-casein C 9P from IAR bulk milk. MW: 23622

Figure 17: Mass spectrum of αs1-casein B 9P from IAR bulk milk. MW: 23700

Figure 18: Mass spectrum of β-casein B 5P from IAR bulk milk. MW: 24098

Figure 19: Mass spectrum of β-casein A1 5P from IAR bulk milk. MW: 24033

Figure 20: Mass spectrum of β-casein A2 5P from IAR bulk milk. MW: 23992

Figure 21: Mass spectrum of β-casein A3/I 5P from IAR bulk milk. MW: 23968

Figure 22: Mass spectrum of α-lactalbumin B from IAR bulk milk. MW: 14188

Figure 23: Mass spectrum of β-lactoglobulin B from IAR bulk milk. MW: 18289

Figure 24: Mass spectrum of β-lactoglobulin A from IAR bulk milk. MW: 18378